Absolent quotation form

Dear Sir/Madame,

We appreciate this opportunity and are pleased to offer a solution according to your request.

# Design Criteria:

# The following criteria are the base for the recommended equipment.

# Required Airflow:

# Coolant Liquid: Straight oil

- Contamination: Sticky black smoke

# Inlet Load:

# Type of Machine:

# Miscellaneous (solid particles need…….):

## Recommended Equipment

# Absolent ODF-1000S Mist & Smoke Collector		Price: $5,042.00

Configuration:	Vertical

Motor: 	(1) 0.85 HP (Direct Drive Fans)

Dimensions: 	L 24.4 " x W 24.4" x H 61.2"

Inlet:	Ø 6.3”

Outlet:	Top of the unit. Outlet connection accessory

Weight (Clean filter): 	254 Lbs.

Air Volume: 	295 CFM

Noise Level:  	64 dBA @ 3 Meters from Outlet Grille

Electrical: 	254/480V, 3-Phase, 60Hz  (Junction Box)

Filtration: 	Fiber Bed 1:	  70 Sq. Ft.

Absolute Filter:	219 Sq. Ft.

Drainage:	Inlet Plenum with Drain

Filter access:	Front Load Filter Accessibility

Gauges:	Magnehelic Gauges/ 0-5": (2 Total)

##### Warranty and Guarantees

- Manufacturers Warranty: 1 year

- Guaranteed Filter Bed Lifetime: 1 year if load does not exceed recommended value by Absolent

- Separation degree: 99.97 %

- Washability of filter stage 1: None.

- Expected lifetime due to references:

#### Terms

- Validity of quotation: 2 months from date issued

- Freight Terms: Ex works, Abslolent inventory, Norfolk VA

- Payment terms: 30 days net.

# We hope…..

Best regards