Dear Customer,				Date:

We appreciate the opportunity and are pleased to offer Customer the following solution.

# Design Criteria:

# The following criteria are the base for the recommended equipment.

# Required Airflow: ODR 18000 Max 14100 cfm.

- Contamination: Oil mist and Oil Smoke.

# Inlet Load: Max 150 mg/m3.

# Type of Machines:

# Recommended Equipment

# Absolent ODR-18000T, Mist & Smoke Collector		USD: Price on demand

Part No:	12018000

Configuration:	Vertical

Dimensions: 	D 44.02 " x W 267.11" x H 161.5"

Inlet: 	31.5” (Bottom plenum left or right)

Outlet:	39.5” (Top Plenum)

Weight (Clean filters): 11800 Lbs.

Max Air Volume: 	14100 CFM

Filtration: 	Filter Area, Filters in stage 1:	1548 Sq. Ft.

Filter Area, Filters in stage 2:	1650 Sq. Ft.

Filter Area, Hepa Filters Stage 3:	3642 Sq. Ft.

Filter access:	Front Load Filter Accessibility

Drainage:	Inlet Plenum w. Drain

Gauges:	Magnehelic Gauges/ 0-12": (18 Total)

Motor/Blower:	Not Included

Control Box:	Not Included

Pump equipment:	Not Included

Note! The ODR 18000 comes in modules and has to be assembled at customer site!!!!!!

When ordering please inform at what side inlet flange, outlet flange shall be placed.

Delivery cost: (Ex-works Sweden to given destination, no discount)	Fixed cost: Call for quote

##### Warranty and Guarantees

- Manufacturers Warranty: 1 year

- Guaranteed Filter Bed Lifetime: 1 year if load does not exceed recommended value by Absolent

- Separation degree: 99.97 %

- Washability of filters stage 1 & 2: None

- Expected lifetime due to references:

#### Terms

- Validity of quotation: 1 months from date issued

- Freight Terms: Ex Works Sweden to Norfolk VA

- Payment terms: 30 days net