Absolent quotation form

Dear Sir/Madame,

We appreciate this opportunity and are pleased to offer a solution according to your request.

# Design Criteria:

# The following criteria are the base for the recommended equipment.

# Required Airflow:

# Coolant Liquid: Straight oil

- Contamination: Sticky black smoke

# Inlet Load:

# Type of Machine:

# Miscellaneous (solid particles need…….):

## Recommended Equipment

# Absolent ODR-3000-Basic,  Mist & Smoke Collector		Price: $19,783.00

Configuration:	Vertical

Motor: 	(1) 10.0 HP (Direct Drive Fans)

Dimensions: 	L 44.9 " x W 46.9" x H 140.8"

Inlet: 	12.4” (Bottom plenum left or right)

Outlet:	Top of the unit. Outlet connection accessory

Weight (Clean filters): 2205 Lbs.

Air Volume: 	2350 CFM

Noise Level:  	73 dBA @ 3 Meters from Outlet Grille

Electrical: 	480/690V, 3-Phase, 60Hz  (Junction Box)

Filtration: 	Fiber Bed 1:	258 Sq. Ft.

Fiber Bed 2:	275 Sq. Ft.

Absolute Filter:	607 Sq. Ft.

Filter access:	Front Load Filter Accessibility

Enclosure	NEMA 12 Enclosure

Gauges:	Magnehelic Gauges/ 0-10": (3 Total)

Control Box: 	Not included

Pump equipment:	Not included

##### Warranty and Guarantees

- Manufacturers Warranty: 1 year

- Guaranteed Filter Bed Lifetime: 1 year if load does not exceed recommended value by Absolent

- Separation degree: 99.97 %

- Washability of filters stage 1 & 2: None

- Expected lifetime due to references:

#### Terms

- Validity of quotation: 2 months from date issued

- Freight Terms: Ex works, Abslolent inventory, Norfolk VA

- Payment terms: 30 days net.

# We hope…..

Best regards