Dear Customer,				Date:

We appreciate the opportunity and are pleased to offer Customer the following solution.

# Design Criteria:

# The following criteria are the base for the recommended equipment.

# Required Airflow:

# Contamination:

# Inlet Load: Max 150 mg/m3 Oil smoke.

# Type of Machine:

- Miscellaneous:

# Absolent ODR-6000T Mist & Smoke Collector		List Price: $35,420.00

Configuration:	Vertical

Motor/Blower: 	NOT INCLUDED

Dimensions: 	D 44.9 " x W 85.0" x H 183.4/194.4"

Inlet: 	15.8” (Bottom plenum left or right)

Outlet:	19.7” (Top plenum center or side)

Weight (Clean filters): 4350 Lbs.

Air Volume: 	4700 CFM

Noise Level: 	? dBA @ 3 Meters from Outlet Grille

Electrical: 	Not Included

Filtration: 	Fiber Bed 1:	516 Sq. Ft.

Fiber Bed 2:	550 Sq. Ft.

Absolute Filter:	1214 Sq. Ft.

Filter access:	Front Load Filter Accessibility

Drainage:	Inlet Plenum w. Drain

Start/Stop:	Not included

Enclosure	NEMA

Gauges:	Magnehelic Gauges/ 0-10": (6 Total)

Note! The ODR 6000T comes in modules and has to be assembled at customer site!!!!!!

When ordering please inform at what side inlet flange, outlet flange shall be placed.

Delivery cost: (Ex-works Sweden to Norfolk, no discount)		Fixed cost: by quote

##### Warranty and Guarantees

- Manufacturers Warranty: 1 year

- Guaranteed Filter Bed Lifetime: 1 year if load does not exceed recommended value by Absolent

- Separation degree: 99.97 %

- Washability of filters stage 1 & 2: None

- Expected lifetime due to references:

#### Terms

- Validity of quotation: 2 months from date issued

- Freight Terms: Ex Works Sweden to Norfolk VA

- Payment terms: 30 days net