## Blad1
Company: |  |  |  |  | Date:
Filter type: |  | Serial #.:
|  | Dp (Pa) | Loading after stage mg/m3 | Filter Change |  | Efficiency (%) | Comments
| Type |  |  | Yes | No
Stage 3
Stage 2
Stage 1
Loading before filter |  | mg/m3 |  | Measured with DustTrak nr.
Pressure before filter |  | Pa |  | Measured with instr. Nr.
Flow (cfm) |  |  |  | Measured with instr. Nr.
Draining function |  |  |  | Misc.
Filter type: |  | Serial #.:
|  | Dp (Pa) | Loading after stage mg/m3 | Filter Change |  | Efficiency (%) | Comments
| Type |  |  | Yes | No
Stage 3
Stage 2
Stage 1
Loading before filter |  | mg/m3 |  | Measured with DustTrak nr.
Pressure before filter |  | Pa |  | Measured with instr. Nr.
Flow (cfm) |  |  |  | Measured with instr. Nr.
Draining function |  |  |  | Misc.
Filter type: |  | Serial #.:
|  | Dp (Pa) | Loading after stage mg/m3 | Filter Change |  | Efficiency (%) | Comments
| Type |  |  | Yes | No
Stage 3
Stage 2
Stage 1
Loading before filter |  | mg/m3 |  | Measured with DustTrak nr.
Pressure before filter |  | Pa |  | Measured with instr. Nr.
Flow (cfm) |  |  |  | Measured with instr. Nr.
Draining function |  |  |  | Misc.