## Sheet1
ODF/ODR Spec Sheet
| Old | New | CFM | Height (H) | Width (W) | Depth (D) | Inlet Duct | Hyperlink
ODF | ODF 800 | A mist6C | 355 cfm | 39.4 in | 24.4 in | 11.8 in | 4.9 in | http://www.absolent.se/compact-oil-mist-filters/A-mist6C.aspx
| ODF 1000 | A mist10 | 590 cfm | 61.2 in | 24.4 in | 24.4 in | 6.3 in | http://www.absolent.se/oil-mist-filters/A-mist10.aspx
| ODF 2000 | A mist20 | 1180 cfm | 81.1 in | 24.4 in | 24.4 in | 7.8 in | http://www.absolent.se/oil-mist-filters/A-mist20.aspx
| ODF 4000T | A mist40T | 2350 cfm | 71.6 in | 28.5 in | 49.7 in | 12.4 in | http://www.absolent.se/oil-mist-filters/A-mist40T.aspx
| ODF 4000TF | A mist40TF | 2350 cfm | 92.9 in | 28.5 in | 49.9 in | 12.4 in | http://www.absolent.se/oil-mist-filters/A-mist40TF.aspx
| ODF 6000 | A mist60 | 3530 cfm | 89.6 in | 83.5 in | 24.4 in | 15.7 in | http://www.absolent.se/oil-mist-filters/A-mist60.aspx
| ODF 8000 | A mist80T | 4700 cfm | 81.4 in | 55.7 in | 49.8 in | 15.7 in | http://www.absolent.se/oil-mist-filters/A-mist80T.aspx
| ODF 8000TF | A mist80TF | 4700 cfm | 106.7 in | 55.7 in | 49.8 in | 15.7 in | http://www.absolent.se/oil-mist-filters/A-mist80TF.aspx
ODR | ODR 2000 | A smoke20 | 1180 cfm | 93.3 in | 29.1 in | 30.7 in | 7.8 in | http://www.absolent.se/oil-smoke-filters/A-smoke20.aspx
| ODR 3000 | A smoke40 | 2350 cfm | 139.0 in | 43.8 in | 46.0 in | 12.4 in | http://www.absolent.se/oil-smoke-filters/A-smoke40.aspx
| ODR 6000T | A smoke80T | 4700 cfm | 115.7 in | 45.4 in | 83.3 in | 15.7 in | http://www.absolent.se/oil-smoke-filters/A-smoke80T.aspx
| ODR 9000 | A smoke120 | 7050 cfm | 145.2 in | 131.2 in | 45.3 in | 19.7 in | http://www.absolent.se/oil-smoke-filters/A-smoke120.aspx
| ODR 12000T | A smoke160T | 9400 cfm | 131.8 in | 89.2 in | 85.5 in | 25.0 in | http://www.absolent.se/oil-smoke-filters/A-smoke160T.aspx
|  | A mist10C | 590 cfm | 31.8 in | 42.4 in | 27.0 in | 6.3 in
|  | A mist10C HEPA | 590 cfm | 31.8 in | 46.9 in | 26.9 in | 6.3 in

## Sheet2
ODF/ODR Spec Sheet
| Old | New | CFM | Height (H) | Width (W) | Depth (D) | Inlet Duct | Plenum Height | Plenum Width
ODF | ODF 800 | A mist6C | 355 cfm | 8.2 | 24.4 | 13.8 | 5 | 8 | 12
| ODF 1000 | A mist10 | 590 cfm | 43.7 | 24.4 | 24.4 | 6 | 8 | 12
| ODF 2000 | A mist20 | 1180 cfm | 63.5 | 24.4 | 24.4 | 8 | 8 | 12
| ODF 4000T | A mist40T | 2350 cfm | 75.8 | 25.4 | 48.1 | 12 | 14 | 16
| ODF 4000TF | A mist40TF | 2350 cfm | 75.8 | 25.4 | 48.1 | 12 | 14 | 16
| ODF 6000 | A mist60 | 3530 cfm | 87.2 | 83.5 | 24.4 | 16 | 14 | 18
| ODF 8000 | A mist80T | 4700 cfm | 87.8 | 55.7 | 49.8 | 16 | 14 | 18
| ODF 8000TF | A mist80TF | 4700 cfm | 87.8 | 55.7 | 49.8 | 16 | 14 | 18
ODR | ODR 2000 | A smoke20 | 1180 cfm | 58.6 | 27.6 | 27.6 | 8 | 8 | 12
| ODR 3000 | A smoke40 | 2350 cfm | 84 | 39.8 | 39.8 | 12 | 14 | 16
| ODR 6000T | A smoke80T | 4700 cfm | 113 | 39.8 | 79.5 | 16 | 14 | 18
| ODR 9000 | A smoke120 | 7050 cfm | 39 | 131 | 40 | 20 | 14 | 26
| ODR 12000T | A smoke160T | 9400 cfm | 31.5 | 79.7 | 85.5 | 24 | 14 | 32

## Thermal
| Old | New | CFM | Height (H) | Width (W) | Depth (D) | Inlet Duct | Plenum Height | Plenum Width | Plenum Inlet | STAT-X Kit Part Number | Plenum inlet parts | PRICE - Plenum | PRICE - Total | Premade Inlet | Plenum inlet parts | PRICE - Premade | PRICE - Total
ODF | ODF 800 | A mist6C | 355 cfm | 1.2 | 0.68333 | 2.0333 | 1.15 | 0.41667 | 0.66667 | N/A | FSK-30T | N/A | 0 | 0 | 30 g | 30g Stat-X Termal Generator - 15300 | 64 | 120
[12 empty] | N/A | 0 |  |  | thermal actuation device - 20117 | 40
[12 empty] | N/A | 0 |  |  | mounting bracket - 18001 | 16
| ODF 1000 | A mist10 | 590 cfm | 3.6417 | 3.64 | 2.03 | 2.03 | 0.5 | 0.67 | 60 g | FSK-30T/FSK-60T | 60g Stat-X Termal generator - 15310 | 106 | 162 | 30 g | 30g Stat-X Termal Generator - 15300 | 64 | 120
[12 empty] | thermal actuation device - 20117 | 40 |  |  | thermal actuation device - 20117 | 40
[12 empty] | mounting bracket - 18001 | 16 |  |  | mounting bracket - 18001 | 16
| ODF 2000 | A mist20 | 1180 cfm | 5.29 | 5.29 | 2.03 | 2.03 | 0.67 | 0.67 | 60 g | FSK-60T | 60g Stat-X Termal generator - 15310 | 106 | 162 | 60 g | 60g Stat-X Termal generator - 15310 | 106 | 162
[12 empty] | thermal actuation device - 20117 | 40 |  |  | thermal actuation device - 20117 | 40
[12 empty] | mounting bracket - 18001 | 16 |  |  | mounting bracket - 18001 | 16
| ODF 4000T | A mist40T | 2350 cfm | 6.32 | 6.32 | 2.12 | 4.01 | 1 | 1.17 | 250 g | FSK-250T | 250g Stat-X Termal generator - 15310 | 280 | 390 | 250 g | 250g Stat-X Termal generator - 15310 | 280 | 390
[12 empty] | thermal actuation device - 20117 | 40 |  |  | thermal actuation device - 20117 | 40
[12 empty] | mounting bracket - 18011 | 70 |  |  | mounting bracket - 18011 | 70
| ODF 4000TF | A mist40TF | 2350 cfm | 6.32 | 6.32 | 2.12 | 4.01 | 1 | 1.17 | 250 g | FSK-250T | 250g Stat-X Termal generator - 15310 | 280 | 390 | 250 g | 250g Stat-X Termal generator - 15310 | 280 | 390
[12 empty] | thermal actuation device - 20117 | 40 |  |  | thermal actuation device - 20117 | 40
[12 empty] | mounting bracket - 18011 | 70 |  |  | mounting bracket - 18011 | 70
| ODF 6000 | A mist60 | 3530 cfm | 7.27 | 7.27 | 6.96 | 2.03 | 1.33 | 1.17 | 250 g | FSK-250T | 250g Stat-X Termal generator - 15310 | 280 | 390 | 250 g | 250g Stat-X Termal generator - 15310 | 280 | 390
[12 empty] | thermal actuation device - 20117 | 40 |  |  | thermal actuation device - 20117 | 40
[12 empty] | mounting bracket - 18011 | 70 |  |  | mounting bracket - 18011 | 70
| ODF 8000 | A mist80T | 4700 cfm | 7.32 | 7.32 | 4.64 | 4.15 | 1.33 | 1.17 | 500 g | FSK-500T | 500g Stat-X Termal generator - 15610 | 380 | 490 | 500 g | 500g Stat-X Termal generator - 15610 | 380 | 490
[12 empty] | thermal actuation device - 20117 | 40 |  |  | thermal actuation device - 20117 | 40
[12 empty] | mounting bracket - 18011 | 70 |  |  | mounting bracket - 18011 | 70
| ODF 8000TF | A mist80TF | 4700 cfm | 7.32 | 7.32 | 4.64 | 4.15 | 1.33 | 1.17 | 500 g | FSK-500T | 500g Stat-X Termal generator - 15610 | 380 | 490 | 500 g | 500g Stat-X Termal generator - 15610 | 380 | 490
[12 empty] | thermal actuation device - 20117 | 40 |  |  | thermal actuation device - 20117 | 40
[12 empty] | mounting bracket - 18011 | 70 |  |  | mounting bracket - 18011 | 70
ODR | ODR 2000 | A smoke20 | 1180 cfm | 4.88 | 4.88 | 2.3 | 2.3 | 0.67 | 0.67 | 60 g | FSK-60T | 60g Stat-X Termal generator - 15310 | 106 | 162 | 60 g | 60g Stat-X Termal generator - 15310 | 106 | 162
[12 empty] | thermal actuation device - 20117 | 40 |  |  | thermal actuation device - 20117 | 40
[12 empty] | mounting bracket - 18001 | 16 |  |  | mounting bracket - 18001 | 16
| ODR 3000 | A smoke40 | 2350 cfm | 7 | 7 | 3.32 | 3.32 | 1 | 1.17 | 250 g | FSK-250T | 250g Stat-X Termal generator - 15310 | 280 | 390 | 250 g | 250g Stat-X Termal generator - 15310 | 280 | 390
[12 empty] | thermal actuation device - 20117 | 40 |  |  | thermal actuation device - 20117 | 40
[12 empty] | mounting bracket - 18011 | 70 |  |  | mounting bracket - 18011 | 70
| ODR 6000T | A smoke80T | 4700 cfm | 9.42 | 9.42 | 3.32 | 6.63 | 1.33 | 1.17 | 500 g | FSK-500T | 500g Stat-X Termal generator - 15610 | 380 | 490 | 500 g | 500g Stat-X Termal generator - 15610 | 380 | 490
[12 empty] | thermal actuation device - 20117 | 40 |  |  | thermal actuation device - 20117 | 40
[12 empty] | mounting bracket - 18011 | 70 |  |  | mounting bracket - 18011 | 70
| ODR 9000 | A smoke120 | 7050 cfm | 7 | 3.25 | 10.92 | 3.33 | 1.67 | 1.17 | 500 g | FSK-500T | 500g Stat-X Termal generator - 15610 | 380 | 490 | 500 g | 500g Stat-X Termal generator - 15610 | 380 | 490
[12 empty] | thermal actuation device - 20117 | 40 |  |  | thermal actuation device - 20117 | 40
[12 empty] | mounting bracket - 18011 | 70 |  |  | mounting bracket - 18011 | 70
| ODR 12000T | A smoke160T | 9400 | 2.63 | 2.63 | 6.64 | 7.13 | 2 | 1.17 | 1000 g | FSK-1000T | 1000g Stat-X Termal generator - 15711 | 380 | 490 | 1000 g | 1000g Stat-X Termal generator - 15711 | 380 | 490
[12 empty] | thermal actuation device - 20117 | 40 |  |  | thermal actuation device - 20117 | 40
[12 empty] | mounting bracket - 18011 | 70 |  |  | mounting bracket - 18011 | 70

## Electrical
| Old | New | CFM | Height (H) | Width (W) | Depth (D) | Inlet Duct | Plenum Height | Plenum Width | Plenum Inlet | STAT-X Kit Part Number | Plenum inlet parts | PRICE - Plenum | PRICE - Total | Premade Inlet | STAT-X Kit Part Number | PRICE - Premade | PRICE - Total | PRICE - Total
ODF | ODF 800 | A mist6C | 355 cfm | 1.2 | 0.68 | 2.03 | 1.15 | 0.42 | 0.67 | N/A | N/A | N/A | 0 | 0 | 30 g | FSK-30E | 30 g Electric Generator - 15100 | 82 | 646.71
[12 empty] | N/A | 0 |  |  |  | Solo Panel - 14677 | 435
[12 empty] | N/A | 0 |  |  |  | Battery - 14679 | 30
[12 empty] | N/A | 0 |  |  |  | Linear Heat Cable (150F) | 19.71
[12 empty] | N/A | 0 |  |  |  | Cable Adaptor - 14640 | 16
[12 empty] | N/A | 0 |  |  |  | Terminal Box | 48
[12 empty] | N/A | 0 |  |  |  | Mounting Bracket - 18001 | 16
| ODF 1000 | A mist10 | 590 cfm | 3.64 | 3.64 | 2.03 | 2.03 | 0.5 | 0.67 | 60 g | FSK-60E | 60 g Electric Generator - 15110 | 116 | 700.42 | 30 g | FSK-30E | 30 g Electric Generator - 15100 | 82 | 646.71
[12 empty] | Solo Panel - 14677 | 435 |  |  |  | Solo Panel - 14677 | 435
[12 empty] | Battery - 14679 | 30 |  |  |  | Battery - 14679 | 30
[12 empty] | Linear Heat Cable (150F) | 39.42 |  |  |  | Linear Heat Cable (150F) | 19.71
[12 empty] | Cable Adaptor - 14640 | 16 |  |  |  | Cable Adaptor - 14640 | 16
[12 empty] | Terminal Box | 48 |  |  |  | Terminal Box | 48
[12 empty] | Mounting Bracket - 18001 | 16 |  |  |  | Mounting Bracket - 18001 | 16
| ODF 2000 | A mist20 | 1180 cfm | 5.29 | 2.03 | 2.03 | 0.67 | 0.67 | 1 | 60 g | FSK-60E | 60 g Electric Generator - 15110 | 116 | 700.42 | 60 g | FSK-60E | 60 g Electric Generator - 15110 | 116 | 700.42
[12 empty] | Solo Panel - 14677 | 435 |  |  |  | Solo Panel - 14677 | 435
[12 empty] | Battery - 14679 | 30 |  |  |  | Battery - 14679 | 30
[12 empty] | Linear Heat Cable (150F) | 39.42 |  |  |  | Linear Heat Cable (150F) | 39.42
[12 empty] | Cable Adaptor - 14640 | 16 |  |  |  | Cable Adaptor - 14640 | 16
[12 empty] | Terminal Box | 48 |  |  |  | Terminal Box | 48
[12 empty] | Mounting Bracket - 18001 | 16 |  |  |  | Mounting Bracket - 18001 | 16
| ODF 4000T | A mist40T | 2350 cfm | 6.32 | 0.68333 | 2.0333 | 1.15 | 0.41667 | 0.66667 | 250 g | FSK-250E | 250E Package - 17025 | 750 | 841.8 | 250 g | FSK-250E | 250E Package - 17025 | 750 | 841.8
[12 empty] | Linear Heat Cable (150F) | 43.8 |  |  |  | Linear Heat Cable (150F) | 43.8
[12 empty] | Terminal Box | 48 |  |  |  | Terminal Box | 48
| ODF 4000TF | A mist40TF | 2350 cfm | 6.32 | 3.6417 | 2.0333 | 2.0333 | 0.5 | 0.66667 | 250 g | FSK-250E | 250E Package - 17025 | 750 | 841.8 | 250 g | FSK-250E | 250E Package - 17025 | 750 | 841.8
[12 empty] | Linear Heat Cable (150F) | 43.8 |  |  |  | Linear Heat Cable (150F) | 43.8
[12 empty] | Terminal Box | 48 |  |  |  | Terminal Box | 48
| ODF 6000 | A mist60 | 3530 cfm | 7.27 | 5.2917 | 2.0333 | 2.0333 | 0.66667 | 0.66667 | 250 g | FSK-250E | 250E Package - 17025 | 750 | 841.8 | 250 g | FSK-250E | 250E Package - 17025 | 750 | 841.8
[12 empty] | Linear Heat Cable (150F) | 43.8 |  |  |  | Linear Heat Cable (150F) | 43.8
[12 empty] | Terminal Box | 48 |  |  |  | Terminal Box | 48
| ODF 8000 | A mist80T | 4700 cfm | 7.32 | 6.3167 | 2.1167 | 4.0083 | 1 | 1.1667 | 500 g | FSK-500E | 500E Package - 17030 | 810 | 912.75 | 500 g | FSK-500E | 500E Package - 17030 | 810 | 912.75
[12 empty] | Linear Heat Cable (150F) | 54.75 |  |  |  | Linear Heat Cable (150F) | 54.75
[12 empty] | Terminal Box | 48 |  |  |  | Terminal Box | 48
| ODF 8000TF | A mist80TF | 4700 cfm | 7.32 | 6.3167 | 2.1167 | 4.0083 | 1 | 1.1667 | 500 g | FSK-500E | 500E Package - 17030 | 810 | 912.75 | 500 g | FSK-500E | 500E Package - 17030 | 810 | 912.75
[12 empty] | Linear Heat Cable (150F) | 54.75 |  |  |  | Linear Heat Cable (150F) | 54.75
[12 empty] | Terminal Box | 48 |  |  |  | Terminal Box | 48
ODR | ODR 2000 | A smoke20 | 1180 cfm | 4.88 | 7.2667 | 6.9583 | 2.0333 | 1.3333 | 1.1667 | 60 g | FSK-60E | 60 g Electric Generator - 15110 | 116 | 700.42 | 60 g | FSK-60E | 60 g Electric Generator - 15110 | 116 | 700.42
[12 empty] | Solo Panel - 14677 | 435 |  |  |  | Solo Panel - 14677 | 435
[12 empty] | Battery - 14679 | 30 |  |  |  | Battery - 14679 | 30
[12 empty] | Linear Heat Cable (150F) | 39.42 |  |  |  | Linear Heat Cable (150F) | 39.42
[12 empty] | Cable Adaptor - 14640 | 16 |  |  |  | Cable Adaptor - 14640 | 16
[12 empty] | Terminal Box | 48 |  |  |  | Terminal Box | 48
[12 empty] | Mounting Bracket - 18001 | 16 |  |  |  | Mounting Bracket - 18001 | 16
| ODR 3000 | A smoke40 | 2350 cfm | 7 | 7.3167 | 4.6417 | 4.15 | 1.3333 | 1.1667 | 250 g | FSK-250E | 250E Package - 17025 | 750 | 841.8 | 250 g | FSK-250E | 250E Package - 17025 | 750 | 841.8
[12 empty] | Linear Heat Cable (150F) | 43.8 |  |  |  | Linear Heat Cable (150F) | 43.8
[12 empty] | Terminal Box | 48 |  |  |  | Terminal Box | 48
| ODR 6000T | A smoke80T | 4700 cfm | 9.42 | 7.3167 | 4.6417 | 4.15 | 1.3333 | 1.1667 | 500 g | FSK-500E | 500E Package - 17030 | 810 | 934.65 | 500 g | FSK-500E | 500E Package - 17030 | 810 | 934.65
[12 empty] | Linear Heat Cable (150F) | 76.65 |  |  |  | Linear Heat Cable (150F) | 76.65
[12 empty] | Terminal Box | 48 |  |  |  | Terminal Box | 48
| ODR 9000 | A smoke120 | 7050 cfm | 7 | 4.8833 | 2.3 | 2.3 | 0.66667 | 0.66667 | 500 g | FSK-500E | 500E Package - 17030 | 810 | 934.65 | 500 g | FSK-500E | 500E Package - 17030 | 810 | 934.65
[12 empty] | Linear Heat Cable (150F) | 76.65 |  |  |  | Linear Heat Cable (150F) | 76.65
[12 empty] | Terminal Box | 48 |  |  |  | Terminal Box | 48
| ODR 12000T | A smoke160T | 9400 cfm | 2.63 | 7 | 3.3167 | 3.3167 | 1 | 1.1667 | 1000 g | FSK-60E | 1000 g Electric Generator - 15150 | 600 | 1328.5 | 1000 g | FSK-60E | 1000 g Electric Generator - 15150 | 600 | 1328.5
[12 empty] | Solo Panel - 14677 | 435 |  |  |  | Solo Panel - 14677 | 435
[12 empty] | Battery - 14679 | 30 |  |  |  | Battery - 14679 | 30
[12 empty] | Linear Heat Cable (150F) | 109.5 |  |  |  | Linear Heat Cable (150F) | 109.5
[12 empty] | Cable Adaptor - 14640 | 16 |  |  |  | Cable Adaptor - 14640 | 16
[12 empty] | Terminal Box | 48 |  |  |  | Terminal Box | 48
[12 empty] | Mounting Bracket - 18016 | 90 |  |  |  | Mounting Bracket - 18016 | 90