Avani Environmental

95 Cypress Drive      Youngsville, NC  27596

P# 919-570-2862

Packing List SO18578

Ship to:	International Display Systems

1529 Industrial Center Circle

Charlotte, NC 28213

Attn: John Stilwell PO#6499

| ø | Description K&B DUCT | Qty** Needed | Qty Picked | Qty Shipped | Back-ordered |
| --- | --- | --- | --- | --- | --- |
| 14” | Pipe | 3 |  |  |  |
| 14” | Nipple | 2 |  |  |  |
| 14” | 90 deg elbow | 2 |  |  |  |
| 14” | 45 deg elbow | 1 |  |  |  |
| 14” | Clamp | 12 |  |  |  |
| 16” | Clamp | 1 |  |  |  |
| 16” | Angle Flange KB End | 1 |  |  |  |
| 16” | 16”-14” Reducer | 1 |  |  |  |
| 18” | Pipe Flashing | 1 |  |  |  |
|  | 3/8” Threaded Rod 10’ | 4 |  |  |  |
|  | Unistrut 10’ | 4 |  |  |  |
|  | 3/8” Nuts/Bolts/Washers |  |  |  |  |
|  | Silicone | 2 |  |  |  |
|  | Gripples |  |  |  |  |

Pulled By: ______________		Shipped On:

Packaged By: ____________		Shipped Via: Best Way

Tracking:

Bill To: