| Avani Environmental | Phone: (919) 570-2862 |
| --- | --- |
| Attention: Mr. Ken Haga | Quote valid thru 3/4/12 for shipment by 5/3/12. |

We are pleased to offer our proposal for Cincinnati Fan products:

Item #1 – Direct Drive

| ACFM | SP | Temp. | Altitude | Density | Fan RPM | BHP |
| --- | --- | --- | --- | --- | --- | --- |
| 7800 | 12 in.wg | 70 °F | 0 ft | 0.075 lb/ft³ | 1750 | 26.6 |

| Qty | Description | Unit Price | Extended Price |
| --- | --- | --- | --- |
| 1 | Cincinnati Fan RBE-17, 100% Width, Arrangement 4, Series 25 Fan is painted “Avani Blue” | $4,334 | $4,334 |
|  | MOTOR: 30 HP, 1750 RPM, 3PH/60Hz/230/460V, TEFC, Premium Eff, FM, 286T, 1.15 SF, F Insul., 40C Amb. | Included |  |
|  | Teflon Shaft Seal | Included |  |
|  | Flanged Inlet & Flanged Discharge | Included |  |
|  | Flanged Discharge-Standard Drilling | Included |  |
|  | Optional Accessories |  |  |
|  | Drain with Plug | $50 | $50 |
|  | Quick Open Inspection Door | $158 | $158 |

Approximate shipping weight (for complete fan as described above) is 1197 pounds (each).

Item #2 – V-Belt Drive

| ACFM | SP | Temp. | Altitude | Density | Fan RPM | BHP |
| --- | --- | --- | --- | --- | --- | --- |
| 7800 | 12 in.wg | 70 °F | 0 ft | 0.075 lb/ft³ | 1511 | 24.8 |

| Qty | Description | Unit Price | Extended Price |
| --- | --- | --- | --- |
| 1 | Cincinnati Fan RBE-19, 90% Width, Arrangement 9, Series 18 | $6,197 | $6,197 |
|  | MOTOR: 30 HP, 1750 RPM, 3PH/60Hz/230/460V, TEFC, Premium Eff, FM, 286T, 1.15 SF, F Insul., 40C Amb. Motor & Drive mounting included. | Included |  |
|  | Shaft/Bearing Guard & Belt Guard | Included |  |
|  | Teflon Shaft Seal | Included |  |
|  | Flanged Inlet & Flanged Discharge | Included |  |
|  | Fixed Drives,1.3 Service Factor | Included |  |
|  | Optional Accessories |  |  |
|  | Drain with Plug | $50 | $50 |
|  | Quick Open Inspection Door | $158 | $158 |

Approximate shipping weight (for complete fan as described above) is 1561 pounds (each).

Allow 15 working days to ship after receipt of order, or release to manufacturing.

Net 30 Days.  FOB Factory.  Freight not included.  Please issue PO to Cincinnati Fan c/o Todd Air Solutions.  All Cincinnati Fan & Ventilator Company terms and conditions of sale will apply.  When ordering, refer to the Quotation # at the top of this proposal.

Sincerely,

Thomas G. Todd

Todd Air Solutions