Avani Environmental

95 Cypress Drive      Youngsville, NC  27596

P# 919-570-2862

Packing List SO 18200

Ship to:	Western Training Center

12433 N. Highway 59

Gillette, Wyoming 82716

Attn: Mike Akovenko

PO# 300154024

| ø | Description | Qty** Needed | Qty Picked | Qty Shipped | Back-ordered |
| --- | --- | --- | --- | --- | --- |
| 6" | 5' Duct | 9 |  |  |  |
| 9" | 5' Duct | 2 |  |  |  |
| 11" | 5' Duct | 5 |  |  |  |
| 12" | 5' Duct | 2 |  |  |  |
| 14" | 5' Duct | 2 |  |  |  |
| 18" | 5' Duct | 1 |  |  |  |
| 6" | 11" Adjustable Sleeve | 5 |  |  |  |
| 9" | 11" Adjustable Sleeve | 1 |  |  |  |
| 11" | 11" Adjustable Sleeve | 1 |  |  |  |
| 12" | 11" Adjustable Sleeve | 1 |  |  |  |
| 14" | 11" Adjustable Sleeve | 2 |  |  |  |
| 18" | 11" Adjustable Sleeve | 1 |  |  |  |
| 6" | 90 deg El-1xD Stitch Welded | 4 |  |  |  |
| 6" | 45 deg El-1xD Stitch Welded | 7 |  |  |  |
| 18" | 90 deg Gored/Segmented El- 1D | 3 |  |  |  |
| 14" | 45 deg Gored/Segmented El- 1D | 1 |  |  |  |
| 6" | Std 'Forever' Clamp | 30 |  |  |  |
| 9" | Std 'Forever' Clamp | 5 |  |  |  |
| 11" | Std 'Forever' Clamp | 11 |  |  |  |
| 12" | Std 'Forever' Clamp | 5 |  |  |  |
| 14" | Std 'Forever' Clamp | 8 |  |  |  |
| 18" | Std 'Forever' Clamp | 16 |  |  |  |
| 14" | 14KB-6KB-12KB | 1 |  |  |  |
| 9" | 9KB-6KB-6KB | 1 |  |  |  |
| 18” | Pipe Flashing | 1 |  |  |  |
|  | Gripple #2 15’ | 6 |  |  |  |
| 3/8” | Nuts | 50 |  |  |  |
| 3/8” | Bolts | 50 |  |  |  |
| 3/8” | Washers | 100 |  |  |  |
| 3/8” | Anchor Bolts 5” | 6 |  |  |  |
| 3/8” | Beam Clamps | 10 |  |  |  |
|  | Unistrut 5’ | 2 |  |  |  |
|  | Silicone Tube | 4 |  |  |  |
|  | Welding Curtains 7’ wide x 6’ high | 6 |  |  |  |
|  | 1” Curtain Hooks | 48 |  |  |  |
|  | Welding Booth WB-1068 | 6 |  |  |  |
|  | Arm 1620 Fume Arm | 6 |  |  |  |
| 6” | Wall Mount Brackets | 6 |  |  |  |
|  | Manual |  |  |  |  |

Pulled By: ______________		Shipped On:

Packaged By: ____________		Shipped Via: Best Way

Tracking:

Bill To: Peabody SO18200