## CFM Calculation
[8 empty] | Add trunk lines |  |  |  | CFM |  | Ø
|  | Total "Full Open" air volume | 15969.8438 | CFM @ 4500 ft/min |  |  |  | 1 |  |  | 15969.8438 |  |  | 26 | [38 empty] | 24 |  | 26 |  | 14130 | 16583.125 | -13.02% | 3.698% | 13.02% | 3.698% | 26
|  | Main trunk line dia. | 26 inch |  |  |  |  | 2 |  |  | 0 | [45 empty] | #N/A | #N/A | 0% | 0% | 0% | 0%
[8 empty] | 3 |  |  | 0 | [35 empty] | 4500 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0%
| Note: The system will be blast gated down to 12,000CFM (22"dia Main trunkline), manual blast gates to be supplied on machines | [6 empty] | CFM manually | [48 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
[8 empty] | Combined |  |  | 15969.8438 |  |  | 26 | [38 empty] | 24 |  | 26 |  | 14130 | 16583.125 | -13.02% | 3.698% | 13.02% | 3.698% | 26 | 15969.8438 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Machine | Machine | Machine | Dust collection | CFM @ | Duct | Velocity | Trunk | Enter number of connection points | [18 empty] | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 22 | Machine |  |  | 4500 |  | 26 | 24 |  | 26 |  | 14130 | 16583.125 | -13.02% | 3.698% | 13.02% | 3.698% | 26
| # | Type | Brancd | connection type | 4500 FPM | Ø | Ft / min | line # | 2" | 3" | 4" | 5" | 6" | 7" | 8" | 9" | 10" | 12" | 13" | 14" | 15" | 16" | 17" | 18" | 19" | 20" | 22" | 98.125 | 220.7812 | 392.5 | 613.2812 | 883.125 | 1202.0312 | 1570 | 1987.0312 | 2453.125 | 3532.5 | 4145.7812 | 4808.125 | 5519.5312 | 6280 | 7089.5312 | 7948.125 | 8855.7812 | 9812.5 | 11873.125 | Air volume | [16 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
[29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 1 | Moulder | Wienig | New manifold with urethane flex to machine ports, SK-3 | 3066.4062 | 11" | 4500 | 1 | 5": 5 | 0 | 0 | 0 | 3066.4062 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3066.4062 | 2 | 98.125 | 98.125 | 2 | 11 | 11 | or | 12 | Duct | 2968.2812 | 3532.5 | -3.306% | 13.19% | 3.306% | 13.19% | 11 | 3066.4062 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2 | Large Rip Saw |  | 2-5" flex | 1226.5625 | 7" | 4500 | 1 | 5": 2 | 0 | 0 | 0 | 1226.5625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1226.5625 | 3 | 220.7812 | 220.7812 | 3 | 7 | 7 | or | 8 | Duct | 1202.0312 | 1570 | -2.041% | 21.88% | 2.041% | 21.88% | 7 | 1226.5625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 4 | Surface Planer | Buss | 1-5" flex | 613.2812 | 5" | 4500 | 1 | [19 empty] | 0 | 0 | 0 | 613.2812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 613.2812 | 4 | 392.5 | 392.5 | 4 | 5 | 5 | or | 6 | Duct | 613.2812 | 883.125 | 0% | 30.56% | 0% | 30.56% | 5 | 613.2812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: 5"
4 | 5 | Table Saw | Tannewitz | 1-4" flex | 392.5 | 4" | 4500 | 1 | [19 empty] | 0 | 0 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 392.5 | 5 | 613.2812 | 613.2812 | 5 | 4 | 4 | or | 5 | Duct | 392.5 | 613.2812 | 0% | 36% | 0% | 36% | 4 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: 4"
5 | 6 | Overarm Router |  | 1-4"flex to a magnetic router hood | 392.5 | 4" | 4500 | 1 | [19 empty] | 0 | 0 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 392.5 | 6 | 883.125 | 883.125 | 6 | 4 | 4 | or | 5 | Duct | 392.5 | 613.2812 | 0% | 36% | 0% | 36% | 4 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: 4"
6 | 7 | 18" Finish Planer | Powermatic | 1-5" flex | 613.2812 | 5" | 4500 | 1 | [19 empty] | 0 | 0 | 0 | 613.2812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 613.2812 | 7 | 1202.0312 | 1202.0312 | 7 | 5 | 5 | or | 6 | Duct | 613.2812 | 883.125 | 0% | 30.56% | 0% | 30.56% | 5 | 613.2812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: 5"
7 | 8 | 16" Jointer | Yates | 1- Special Hood see SK-1 drawing | 392.5 | 4" | 4500 | 1 | [19 empty] | 0 | 0 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 392.5 | 8 | 1570 | 1570 | 8 | 4 | 4 | or | 5 | Duct | 392.5 | 613.2812 | 0% | 36% | 0% | 36% | 4 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: 4"
8 | 9 | Band Saw | Tannewitz | 2-4" flex connections | 392.5 | 4" | 4500 | 1 | [19 empty] | 0 | 0 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 392.5 | 9 | 1987.0312 | 1987.0312 | 9 | 4 | 4 | or | 5 | Duct | 392.5 | 613.2812 | 0% | 36% | 0% | 36% | 4 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: 4"
9 | 10 | Sliding Table saw | SCMI | 1-5" flex | 613.2812 | 5" | 4500 | 1 | [19 empty] | 0 | 0 | 0 | 613.2812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 613.2812 | 10 | 2453.125 | 2453.125 | 10 | 5 | 5 | or | 6 | Duct | 613.2812 | 883.125 | 0% | 30.56% | 0% | 30.56% | 5 | 613.2812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: 5"
10 | 11 | Edgebander | Brandt | 1-4" hard pipe connection | 392.5 | 4" | 4500 | 1 | [19 empty] | 0 | 0 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 392.5 | 11 | 2968.2812 | 2968.2812 | 11 | 4 | 4 | or | 5 | Duct | 392.5 | 613.2812 | 0% | 36% | 0% | 36% | 4 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: 4"
11 | 12 | Line Boring | Ritter | 1-6" floor sweep (no connection on machine) | 0 |  | 4500 | 0 | [19 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 3532.5 | 3532.5 | 12 |  |  | or |  | Duct | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 13 | Shaper | Martin | 1-4" flex | 392.5 | 4" | 4500 | 1 | [19 empty] | 0 | 0 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 392.5 | 13 | 4145.7812 | 4145.7812 | 13 | 4 | 4 | or | 5 | Duct | 392.5 | 613.2812 | 0% | 36% | 0% | 36% | 4 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: 4"
13 | 14 | Shaper | Gomad | 1-6" drop to 2-4" flex connection | 785 | 6" | 4500 | 1 | 4": 2 | 0 | 0 | 785 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 785 | 14 | 4808.125 | 4808.125 | 14 | 6 | 5 | or | 6 | Duct | 613.2812 | 883.125 | -28% | 11.11% | 28% | 11.11% | 6 | 785 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 15 | Shaper | Beach | 1-4" flex | 392.5 | 4" | 4500 | 1 | [19 empty] | 0 | 0 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 392.5 | 15 | 5519.5312 | 5519.5312 | 15 | 4 | 4 | or | 5 | Duct | 392.5 | 613.2812 | 0% | 36% | 0% | 36% | 4 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: 4"
15 | 16 | Shaper | Buss | 1-6" drop to 2-4" flex connection | 785 | 6" | 4500 | 1 | 4": 2 | 0 | 0 | 785 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 785 | 16 | 6280 | 6280 | 16 | 6 | 5 | or | 6 | Duct | 613.2812 | 883.125 | -28% | 11.11% | 28% | 11.11% | 6 | 785 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 17 | 8" Jointer | Northstate | 1-4" flex to special hood, see SK-2 drawing | 392.5 | 4" | 4500 | 1 | [19 empty] | 0 | 0 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 392.5 | 17 | 7089.5312 | 7089.5312 | 17 | 4 | 4 | or | 5 | Duct | 392.5 | 613.2812 | 0% | 36% | 0% | 36% | 4 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: 4"
17 | 18 | Moulder | William/Hussey | 1-4" flex | 392.5 | 4" | 4500 | 1 | [19 empty] | 0 | 0 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 392.5 | 18 | 7948.125 | 7948.125 | 18 | 4 | 4 | or | 5 | Duct | 392.5 | 613.2812 | 0% | 36% | 0% | 36% | 4 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: 4"
18 | 21 | Side Belt Sander | SCMI | 2-5" flex | 1226.5625 | 7" | 4500 | 1 | 5": 2 | 0 | 0 | 0 | 1226.5625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1226.5625 | 20 | 9812.5 | 9812.5 | 20 | 7 | 7 | or | 8 | Duct | 1202.0312 | 1570 | -2.041% | 21.88% | 2.041% | 21.88% | 7 | 1226.5625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 22 | Band Saw | SCMI | 1-4" flex | 392.5 | 4" | 4500 | 1 | [19 empty] | 0 | 0 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 392.5 | 22 | 11873.125 | 11873.125 | 22 | 4 | 4 | or | 5 | Duct | 392.5 | 613.2812 | 0% | 36% | 0% | 36% | 4 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: 4"
20 | 23 | Edge Sander | Wysong | 1-5" flex | 613.2812 | 5" | 4500 | 1 | [19 empty] | 0 | 0 | 0 | 613.2812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 613.2812 | 24 | 14130 | 14130 | 24 | 5 | 5 | or | 6 | Duct | 613.2812 | 883.125 | 0% | 30.56% | 0% | 30.56% | 5 | 613.2812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: 5"
21 | 24 | Edge Sander | Crouch | 1-5" flex | 613.2812 | 5" | 4500 | 1 | [19 empty] | 0 | 0 | 0 | 613.2812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 613.2812 | 26 | 16583.125 | 16583.125 | 26 | 5 | 5 | or | 6 | Duct | 613.2812 | 883.125 | 0% | 30.56% | 0% | 30.56% | 5 | 613.2812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: 5"
22 | 25 | Table Saw | Delta | 1-4" flex | 392.5 | 4" | 4500 | 1 | [19 empty] | 0 | 0 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 392.5 | 28 | 19232.5 | 19232.5 | 28 | 4 | 4 | or | 5 | Duct | 392.5 | 613.2812 | 0% | 36% | 0% | 36% | 4 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: 4"
23 | 26 | Radial Arm Saw | Delta | 1- 4"flex to radial arm saw hood | 392.5 | 4" | 4500 | 1 | [19 empty] | 0 | 0 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 392.5 | 30 | 22078.125 | 22078.125 | 30 | 4 | 4 | or | 5 | Duct | 392.5 | 613.2812 | 0% | 36% | 0% | 36% | 4 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: 4"
24 | 27 | Chop Saw | SCAT | 4"drop to 3"hose, reducer from 3"hose to 2.4"id adaptor | 98.125 | 2" | 4500 | 1 | [19 empty] | 98.125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 98.125 | 32 | 25120 | 25120 | 32 | 2 | 2 | or | 3 | Duct | 98.125 | 220.7812 | 0% | 55.56% | 0% | 55.56% | 2 | 98.125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: 2"
25 | 28 | PMTS |  | 1-4" flex | 392.5 | 4" | 4500 | 1 | [19 empty] | 0 | 0 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 392.5 | 34 | 28358.125 | 28358.125 | 34 | 4 | 4 | or | 5 | Duct | 392.5 | 613.2812 | 0% | 36% | 0% | 36% | 4 | 392.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: 4"
26 | 31 | Hinge Bore |  | 1-5"flex to special Hood SK-4 | 613.2812 | 5" | 4500 | 1 | [19 empty] | 0 | 0 | 0 | 613.2812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 613.2812 | 36 | 31792.5 | 31792.5 | 36 | 5 | 5 | or | 6 | Duct | 613.2812 | 883.125 | 0% | 30.56% | 0% | 30.56% | 5 | 613.2812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | bar: 5"
27 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 35423.125 | 35423.125 | 38 |  |  | or |  | Duct | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 39250 | 39250 | 40 |  |  | or |  | Duct | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
37 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
38 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
46 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
55 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
56 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
57 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
58 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
62 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
63 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
64 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
65 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
66 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
67 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
68 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
69 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
70 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
71 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
72 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
73 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
75 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
76 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
77 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
78 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
79 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
80 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
81 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
82 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
83 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
84 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
85 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
86 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
87 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
88 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
89 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
90 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
91 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
92 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
93 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
94 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
95 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
96 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
97 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
98 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
99 |  |  |  |  | 0 |  | 4500 | [20 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | #N/A | #N/A | 0% | 0% | 0% | 0% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Printed Version
| End-user company |  |  |  |  | Available electricity |  |  |  | Indoor or outdoor placement | [7 empty] | Return air
| End-user name |  |  |  |  | Hours of operation/day |  |  |  | Barrels, plastic bag, dumpster | [7 empty] | Spark det.
| End-user phone |  |  |  |  | New or existing facility
| End-user fax |  |  |  |  | Duct needs to be quoted |  |  |  | Dealer Company & Name
| Time frame for purchase |  |  |  |  | Install needs to be quoted
| Customer has been told about: |  |  | S-series, NFP, CS, NFK, Cyclone, Duct, Install, Turn-key solutions, Return Air, Spark Detection, Discharge Options, Zoning, Modularity.
Additional comments:
Please note that all of this is based upon an airflow 4500 ft/min. Please call DISA for molders, planers & high speed CNC routers.
| Install | Machine | Machine | Machine | Machine | Usage / day | Waste | CFM @ | Duct | Velocity | Trunk | Enter number of connection points
| Phase | Type | Fabricate | Model | Voltage | Hours | Material | 4500 Ft/Min | Ø | Ft / min | line # | 2" | 3" | 4" | 5" | 6" | 7" | 8" | 9" | 10" | 12"
1 | [9 empty] | 4500
2 | [9 empty] | 4500
3 | [9 empty] | 4500
4 | [9 empty] | 4500
5 | [9 empty] | 4500
6 | [9 empty] | 4500
7 | [9 empty] | 4500
8 | [9 empty] | 4500
9 | [9 empty] | 4500
10 | [9 empty] | 4500
11 | [9 empty] | 4500
12 | [9 empty] | 4500
13 | [9 empty] | 4500
14 | [9 empty] | 4500
15 | [9 empty] | 4500
16 | [9 empty] | 4500
17 | [9 empty] | 4500
18 | [9 empty] | 4500
19 | [9 empty] | 4500
20 | [9 empty] | 4500
21 | [9 empty] | 4500
22 | [9 empty] | 4500
23 | [9 empty] | 4500
24 | [9 empty] | 4500
25 | [9 empty] | 4500
26 | [9 empty] | 4500
27 | [9 empty] | 4500
28 | [9 empty] | 4500
29 | [9 empty] | 4500
30 | [9 empty] | 4500
31 | [9 empty] | 4500
32 | [9 empty] | 4500
33 | [9 empty] | 4500
34 | [9 empty] | 4500
35 | [9 empty] | 4500
36 | [9 empty] | 4500
37 | [9 empty] | 4500
38 | [9 empty] | 4500
39 | [9 empty] | 4500
40 | [9 empty] | 4500
41 | [9 empty] | 4500
42 | [9 empty] | 4500
43 | [9 empty] | 4500
44 | [9 empty] | 4500
45 | [9 empty] | 4500
46 | [9 empty] | 4500
47 | [9 empty] | 4500
48 | [9 empty] | 4500
49 | [9 empty] | 4500
50 | [9 empty] | 4500
51 | [9 empty] | 4500
52 | [9 empty] | 4500
53 | [9 empty] | 4500
54 | [9 empty] | 4500
55 | [9 empty] | 4500
56 | [9 empty] | 4500
57 | [9 empty] | 4500
58 | [9 empty] | 4500
59 | [9 empty] | 4500
60 | [9 empty] | 4500
61 | [9 empty] | 4500
62 | [9 empty] | 4500
63 | [9 empty] | 4500
64 | [9 empty] | 4500
65 | [9 empty] | 4500
66 | [9 empty] | 4500
67 | [9 empty] | 4500
68 | [9 empty] | 4500
69 | [9 empty] | 4500
70 | [9 empty] | 4500
71 | [9 empty] | 4500
72 | [9 empty] | 4500
73 | [9 empty] | 4500
74 | [9 empty] | 4500
75 | [9 empty] | 4500
76 | [9 empty] | 4500
77 | [9 empty] | 4500
78 | [9 empty] | 4500
79 | [9 empty] | 4500
80 | [9 empty] | 4500
81 | [9 empty] | 4500
82 | [9 empty] | 4500
83 | [9 empty] | 4500
84 | [9 empty] | 4500
85 | [9 empty] | 4500
86 | [9 empty] | 4500
87 | [9 empty] | 4500
88 | [9 empty] | 4500
89 | [9 empty] | 4500
90 | [9 empty] | 4500
91 | [9 empty] | 4500
92 | [9 empty] | 4500
93 | [9 empty] | 4500
94 | [9 empty] | 4500
95 | [9 empty] | 4500
96 | [9 empty] | 4500
97 | [9 empty] | 4500
98 | [9 empty] | 4500
99 | [9 empty] | 4500
TOTAL AMOUNT OF CONNECTION POINTS (ADD FROM ALL THE MACHINES)
| AMOUNT OF CFM PR CONNECTION POINT (CFM PR. DIAMETER @ 4500 FEET PR. MIN.) | [10 empty] | 98 | 220.7812 | 392.5 | 613.2812 | 883.125 | 1202.0312 | 1570 | 1987.0312 | 2453 | 3533
TOTAL AMOUNT OF CFM NEEDED FOR THE JOB
CFM NEEDED

## Print
AIR VOLUME CALCULATION
DUCT Ø | 4500 | no of | Total
inches | ft / min | drops | CFM
3 | 220
4 | 395
5 | 615
6 | 885
7 | 1205
8 | 1570
9 | 1990
10 | 2455
11 | 2970
12 | 3535
13 | 4150
14 | 4810
15 | 5520
16 | 6285
17 | 7090
18 | 7950
20 | 9815
22 | 11880
24 | 14135
26 | 16580
28 | 19230
30 | 22080
32 | 25120
34 | 28360
36 | 31800
38 | 35425
40 | 39250