Customer:	Worthington Cylinders

300 Breed St.

Chilton, WI 53014

Contact:	Jamie Dortal

Phone: 	 920-849-1740

Email: jxdordal@worthingtonindustries.com

Date:  6/3/2010

Project #:  Re-Ducting

Sales Order #: N/A

Serial #: 20040985

Model #: ODF-4000

OE Crew: Bill Boisvert & Brian Boisvert

SCOPE OF PROJECT:        (Installation) – Service – Warranty – Demo – Delivery – Engineering

- Replaced 9-5-7 branch with 9-5-8 branch.

- Replaced 7-5-5 branch with 8-5-7 branch.

- Installed new 8” duct between new branches.

- Installed new 7-5-6 branch.

- Ran 7” duct between 8-5-7 and 7-5-6 branches.

- Installed 6” angle flange, butterfly damper and fir damper on ACME.

- Ran 6” duct from 7-5-6 branch to ACME machine.

- Reworked bad duct on machines 7 and 8.

- Cleaned area, left extra duct in area.

Please review, print, and make any comments, sign and fax to Oskar office.

Thanks,

Bill Boisvert - Cell (919) 971-3910

Project Manager – Oskar Environmental

E-mail bill.boisvert@oskarsales.com

CUST0MER REMARKS: _____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Customer Signature: _________________________________________Date:___________________

Title or Department: ________________________________________________________________