Date: 	5/5/09	  	     Project#: Air Balance 	           IAQ Crew: Bill B. & Jim J.

Customer:	Accellent					Installation:

200 South Yorkshire St.			Service: X

Salem, VA 24153				Warranty:

Attn: Gary Marceau				Repair:

# Scope Of Project

1) Installed two 8” air bleed-in assembles. (One on each ODR-3000 inlet)

2) Completed air flow balance on each of the two ODR-3000 piping

systems.  See Test Reports.

Bill Boisvert

IAQ Project Manager

CUSTOMER REMARKS:

CUSTOMER SIGNATURE:						DATE:

TITLE OR DEPARTMENT: