Avani Environmental

95 Cypress Drive      Youngsville, NC  27596

P# 919-570-2862

Packing List SO 18546

Ship to:	Alliance Manufacturing Inc

1368 Capital Drive

Fond du Lac, WI 54937

Attn: Eric Wagner

PO# P12-0792

| ø | Description K&B DUCT | Qty** Needed | Qty Picked | Qty Shipped | Back-ordered |
| --- | --- | --- | --- | --- | --- |
| 6 | Tube, 150mm dia., 2000mm long, | 1 |  |  |  |
| 6 | Quick connect pull ring, 150mm | 12 |  |  |  |
| 8 | Quick connect pull ring, 200mm | 2 |  |  |  |
| 6 | U-shaped gasket, 150mm dia., f | 8 |  |  |  |
| 8 | U-shaped gasket, 200mm dia., f | 2 |  |  |  |
| 6 | Slip tube, 150mm dia., 500mm l | 1 |  |  |  |
| 6 | Slip tube, 150mm dia., 200mm l | 1 |  |  |  |
| 6 | Ring seal for slip tubes 1.5mm | 4 |  |  |  |
| 6 | Elbow 90deg., 150mm dia., R=1D | 2 |  |  |  |
| 6 | Connecting flange, 150mm dia., | 2 |  |  |  |
| 6/8 | Cone, 150/200mm dia., 1.5mm th | 2 |  |  |  |
|  | Absolent ODF-2000 with metal framed HEPA filter | 1 |  |  |  |
|  | P-trap kit | 1 |  |  |  |

Pulled By: ______________		Shipped On:

Packaged By: ____________		Shipped Via: Best Way

Tracking:

Bill To: Alliance SO18546