Avani Environmental International Inc.

Welding Booth WB-18x10

Amtrak- Hialeah, Fl

Installer Qualifications

- Installers of the Avani WB-18x10 welding booth at the Amtrak Hialeah, FL location are employees of Avani International, Inc, Youngsville, NC.

- The lead installer of the installation at the Amtrak Hialeah, Fl location has over ten years experience in the installation of fume collection equipment.

Field Testing Procedures

- Insure that all moving parts, such as doors, back draft louvers and fume arms move freely without binding.

- Verify that fume arms move freely at the joints and maintain desired position.

- Verify that both motors turn on independently and are crating vacuum at the hood end of each fume arm.

- Verify that both motors turn off independently.

- Verify that the emergency stop button is working when depressed.

Fabrication, Assembly & Testing Location

- Fabrication of the Avani WB-18x10 welding booth was conducted in both Taiwan and Youngsville, NC.

- Assembly and testing was conducted at the Avani Environmental site at 95 Cypress Drive, Youngsville, NC. 27596.