Amtrak, Los Angeles, Ca

Repair Parts List for Avani Welding Booth WB18x10

| Reference Number | Description | Part Number | Quantity |
| --- | --- | --- | --- |
| BLL | Blower (left) | OA03-01-SV-DBN-75-L | 1 |
| BLR | Blower (right) | OA03-01-SV-DBN-75-R | 1 |
| BL | Backdraft Module (left) | OA03-01-WB-18x10P-1 | 1 |
| BR | Backdraft Module (right) | OA03-01-WB-18x10P-2 | 1 |
| BSL-1 | Back Panel (left - 1) | OA03-01-WB-18x10P-3 | 1 |
| BSL-2 | Back Panel (left - 2) | OA03-01-WB-18x10P-4 | 1 |
| BSR-1 | Back Panel (right - 1) | OA03-01-WB-18x10P-5 | 1 |
| BSR-2 | Back Panel (right - 2) | OA03-01-WB-18x10P-6 | 1 |
| TL | Top Hood Draft (left) | OA03-01-WB-18x10P-7 | 1 |
| TR | Top Hood Draft (right) | OA03-01-WB-18x10P-8 | 1 |
| SL-1 | Side Panel (left - 1) | OA03-01-WB-18x10P-9 | 1 |
| SL-2 | Side Panel (left - 2) | OA03-01-WB-18x10P-10 | 1 |
| SR-1 | Side Panel (right - 1) | OA03-01-WB-18x10P-11 | 1 |
| SR-2 | Side Panel (right - 2) | OA03-01-WB-18x10P-12 | 1 |
| DL-1 | Door Panel (left - 1) | OA03-01-WB-18x10P-13 | 1 |
| DL-2 | Door Panel (left - 2) | OA03-01-WB-18x10P-14 | 1 |
| DR-1 | Door Panel (right - 1) | OA03-01-WB-18x10P-15 | 1 |
| DR-2 | Door Panel (right - 2) | OA03-01-WB-18x10P-16 | 1 |
| LL | Door Caster Base (left) | OA03-01-WB-18x10P-17 | 1 |
| LR | Door Caster Base (right) | OA03-01-WB-18x10P-18 | 1 |

blower

backdraft module right

backdraft module left

back panel left - 1

back panel right - 1

back panel left - 2

back panel right - 2

top hood draft left

top hood draft right

side panel left - 1

side panel left - 2

side panel right - 1

side panel right - 2

door panel right - 1

door caster base left- LL

door caster base right - LR

door panel left - 2

door panel right - 2

door panel left - 1

| Reference Number | Description | Part Number | Quantity |
| --- | --- | --- | --- |
| 1 | Arm Swivel Base | A02-03-FE-M2040-O/S-1 | 1 |
| 2 | Flexible Hose - 1 | A02-03-FE-M2040-O/S-2 | 1 |
| 3 | External Joint - 1 | A02-03-FE-M2040-O/S-3 | 1 |
| 4 | Telescoping Spring | A02-03-FE-M2040-O/S-4 | 1 |
| 5 | Tube - A | A02-03-FE-M2040-O/S-5 | 1 |
| 6 | Flexible Hose - 2 | A02-03-FE-M2040-O/S-6 | 1 |
| 7 | External Joint - 2 | A02-03-FE-M2040-O/S-7 | 1 |
| 8 | Tube - B | A02-03-FE-M2040-O/S-8 | 1 |
| 9 | Flexible Hose - 3 | A02-03-FE-M2040-O/S-9 | 1 |
| 10 | Hood Connection | A02-03-FE-M2040-O/S-10 | 1 |
| 11 | Suction Hood | A02-03-FE-M2040-O/S-11 | 1 |

Repair Parts Illustration and List for Welding Fume Extractor Accessory

4

1

5

7

2

3

6

8

11

10

9

Recommended Spare Parts Inventory @ Amtrak, Los Angeles, Ca.

The following are parts that are subject to operational damage. All of the following are “in stock” parts at our Youngsville, NC facility and as such, acquisition time would not result in excessive down time.

| Reference Number | Description | Part Number | Quantity Required For Use /Recommended Customer Inventory |
| --- | --- | --- | --- |
| 2 | Flexible Hose - 1 | A02-03-FE-M2040-O/S-2 | 1/0 |
| 6 | Flexible Hose - 2 | A02-03-FE-M2040-O/S-6 | 1/0 |
| 9 | Flexible Hose - 3 | A02-03-FE-M2040-O/S-9 | 1/0 |
| 11 | Suction Hood | A02-03-FE-M2040-O/S-11 | 1/0 |

Name, Address and Telephone Number of Avani’s service organization nearest to Amtrak, Los Angeles:

All repairs and service work to be conducted by:

Avani International Inc.

95 Cypress Drive

Youngsville, NC 27596

919-570-2862