Amtrak Seattle, WA

QC Check List

YES    NO   N/A

Section A - Delivery:

1)  Are all pallets accounted for?							  ⁯  ⁪  ⁪

2)  Are any pallets damaged? 							  ⁯  ⁪  ⁪

3)  If YES list damage:   _____________________________________________________________________

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Section B - Unpacking:

1)  Is there any obvious damage? 				  			  ⁯  ⁪  ⁪

2)  If YES list damage:   _____________________________________________________________________

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Section C - Assembly:

1)  Are assembly instruction needed? 			  			  ⁯  ⁪  ⁪

2)  Are assembly instruction included? 			  			  ⁯  ⁪  ⁪

3)  Do arms stay in position when moved? 				 	  ⁯  ⁪  ⁪

4)  If NO, tighten friction joints as needed.

5)  Doors are inline and open and close without binding.				  ⁯  ⁪  ⁪

YES    NO   N/A

Section D - Start-Up:

1)  Is electrical complete? 								  ⁯  ⁪  ⁪

2)  Is duct work complete?								  ⁯  ⁪  ⁪

3)  Are motor overloads set to proper value? 					  ⁯  ⁪  ⁪

4)  Are 110volt receptacles operational? 						  ⁯  ⁪  ⁪

5)  Do lights function properly? 							  ⁯  ⁪  ⁪

6)  Do fans start and stop properly?						  ⁯  ⁪  ⁪

7)  Is Fan-A rotation correct? 							  ⁯  ⁪  ⁪

8)  Is Fan-B rotation correct? 							  ⁯  ⁪  ⁪

General Notes: ____________________________________________________________________________

______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Signatures:

Section A: ________________________________________________________  Date:___________________

Section B: ________________________________________________________  Date:___________________

Section C: ________________________________________________________  Date:___________________

Section D: ________________________________________________________  Date:___________________