Request for Quote - Date:

Quartarious L. Ford

Jacob Tubing, LP

3948 Willow Lake Blvd.

Memphis, TN 38118

Avani Sales Order #:

Barnes Job #:

Shon,

Please quote price and availability for the following parts.

| Barnes System G1000 Mist Collection Duct Parts |  |  |
| --- | --- | --- |
| Jacob Part # | Part Name | Quantity |
| 12301020 | Tube, 300mm dia., 1000mm long, 2mm thick | 1 |
| 12301040 | Tube, 300mm dia., 200mm long, 2mm thick | 1 |
| 12201010 | Tube, 200mm dia., 2000mm long, 2mm thick | 1 |
| 12201030 | Tube, 200mm dia., 500mm long, 2mm thick | 1 |
| 12201040 | Tube, 200mm dia., 200mm long, 2mm thick | 2 |
| 12151020 | Tube, 150mm dia., 1000mm long, 2mm thick | 1 |
| 12081040 | Tube, 80mm dia., 200mm long, 2mm thick | 3 |
| 11301110 | Slip Tube, 300mm dia., 1000mm long, 1.5mm thick | 1 |
| 11201110 | Slip Tube, 200mm dia., 1000mm long, 1.5mm thick | 1 |
| 11201120 | Slip Tube, 200mm dia., 500mm long, 1.5mm thick | 1 |
| 11151110 | Slip Tube, 150mm dia., 1000mm long, 1.5mm thick | 1 |
| 11081130 | Slip Tube, 80mm dia., 200mm long, 1.0mm thick | 1 |
| 11301339 | Elbow 90deg., 300mm dia., R=1D, 1.5mm thick | 1 |
| 11201339 | Elbow 90deg., 200mm dia., R=1D, 1.5mm thick | 1 |
| 11081339 | Elbow 90deg., 80mm dia., R=1D, 1.0mm thick | 1 |
| 12201346 | Elbow 60deg., 200mm dia., R=2D, 2mm thick | 1 |
| 12151346 | Elbow 60deg., 150mm dia., R=2D, 2mm thick | 1 |
| 12301344 | Elbow 45deg., 300mm dia., R=2D, 2mm thick | 1 |
| 11301285 | Conical fork 30deg., 300/224/224mm dia., 1.5mm thick | 1 |
| 11201255 | Conical fork 30deg., 200/150/150mm dia., 1.5mm thick | 1 |
| 11001474 | Cone, 200/224mm dia., 1.5mm thick | 1 |
| 11201499 | Hose Connection, 200mm dia., 1.0mm Thick | 1 |
| 11151499 | Hose Connection, 150mm dia., 1.5mm Thick | 1 |
| 102001659 | Flex Hose, 200mm dia., Polyester polyurethane | 3ft. |
| 101501659 | Flex Hose, 150mm dia., Polyester polyurethane | 3ft. |
| 12302903 | Quick Connect Pull ring, 300mm | 6 |
| 12222903 | Quick Connect Pull ring, 224mm | 2 |
| 12202903 | Quick Connect Pull ring, 200mm | 10 |
| 12152903 | Quick Connect Pull ring, 150mm | 5 |
| 12082903 | Quick Connect Pull ring, 80mm | 7 |
| 103069517 | U-Shaped Gasket, 300mm | 8 |
| 102269517 | U-Shaped Gasket, 224mm | 4 |
| 102069517 | U-Shaped Gasket, 200mm | 12 |
| 101569517 | U-Shaped Gasket, 150mm | 6 |
| 100869517 | U-Shaped Gasket, 80mm | 9 |
| 103061557 | Ring seal for slip tube, 1.5mm, 300mm dia. | 3 |
| 102061557 | Ring seal for slip tube, 1.5mm, 200mm dia. | 4 |
| 101561557 | Ring seal for slip tube, 1.5mm, 150mm dia. | 2 |
| 10202162 | Hose clamp, 200mm, Galvanized | 2 |
| 10152162 | Hose clamp, 150mm, Galvanized | 2 |

Notes:

- 2mm material.

- Painted stainless can be substituted for coated.

- Longer slip tubes can be substituted for shorter ones.

Bill Boisvert

Bill Boisvert, Project Specialist

Avani Environmental Intl., Inc.®

95 Cypress Drive, Youngsville, North Carolina 27596

Cell: 919-971-3910 - Office: 919-488-5195

E-mail: bboisvert@avanienvironmental.com