Date: 	9/25/08	      Project#: ODF-2000            IAQ Crew: Bill B. & James W.

Customer:	Borg Warner Turbo’s				Installation:  X

1849 Brevard Rd.				Service:

Arden, NC 28704				Warranty:

Attn.: Joe Cond				Repair:

# Scope Of Project

- Installed Lexon panels on grinder.

- Installed 5” angle flange adapter to Okuma Captain

- Installed 8” angle flange adapter with 8” to 5” reducer and 3” angle flange adapter to Okuma LB25

- Set ODF-2000 (SN: 20061238) in place with plenum box, P-Trap, and per-filter installed.

- Ran duct from ODF to all three machines. (Total of 4 drops)

- Cleaned area.

Note: We still owe you sliding panel for top of grinder.

Joe,

Thanks for your project.  Let we know if anything is not as you would like.

Please sign and fax back to our office.

Thanks,

Bill Boisvert

Project Manager

CUSTOMER REMARKS:

CUSTOMER SIGNATURE:						DATE:

TITLE OR DEPARTMENT: