Date: 8/11/09		  	     Project#:  ODF-2000’s	IAQ Crew:  Bill & Jimmy

Customer:	Robert Bosch					Installation:  X

4421 Hwy 81 North				Service:

Anderson, SC 29621				Warranty:

Attn: Randy Wilson				Repair:

# Scope Of Project

- Installed Ductwork systems on the following blow off chambers

  - RWD2

    - ODF-2000 SN: 20080536

  - RWD3

    - ODF-2000 SN: 20080532

  - FWD2

    - ODF-2000 SN: 20080537

  - FWD1

    - ODF-2000 SN: 20080535

  - RWD1

    - ODF-2000 SN: 20080534

  - 6F2

    - ODF-2000 SN: 20080533

- Butterfly dampers could not be installed – can be added later if needed.

- All remaining duct work returned to IAQ (one box of pipe still needs to be shipped to IAQ.

- All work areas cleaned

Note: ODF-2000’s SN: 20080530 & 20080531 not installed.

Please sign and return to IAQ

Thanks,

Bill Boisvert

CUSTOMER REMARKS:

CUSTOMER SIGNATURE:						DATE:

TITLE OR DEPARTMENT: