| Oskar Environmental | Phone: (919) 570-2862 |
| --- | --- |
| Attention: Mr. Bob Venezia | Quote valid thru 7/4/10 for shipment by 8/3/10. |

We are pleased to offer our proposal for Cincinnati Fan products:

| ACFM | SP | Temp. | Altitude | Density | Fan RPM | BHP |
| --- | --- | --- | --- | --- | --- | --- |
| 13200 | 6 in.wg | 70 °F | 0 ft | 0.075 lb/ft³ | 1750 | 18.9 |

| Qty | Description | Unit Price | Extended Price |
| --- | --- | --- | --- |
| 1 | Cincinnati Fan HDBI-270, Class II/III/IV, 90% Width, Arr. 4 CCW/UB | $3,792 | $3,792 |
|  | MOTOR: 20 HP, 1750 RPM, 3PH/60Hz/230/460V, TEFC, EPAct Eff, FM, 256T, 1.15 SF, F Insul., 40C Amb., F1 Box | Included |  |
|  | Drain with Plug | Included |  |
|  | Shaft Seal | Included |  |
|  | Quick Open Inspection Door @ 9:00 | Included |  |
|  | Rubber in Shear Vibration Isolators | Included |  |
|  | Flanged Inlet & Flanged Discharge | Included |  |
|  | Discharge Damper - Opposed Blade | Included |  |
|  | Optional Accessories |  |  |
|  | 25 HP; 1750 RPM motor in lieu of 20 HP motor | $148 | $148 |

Approximate shipping weight (for complete fan as described above) is 1191 pounds (each).

Allow 13 working days to ship after receipt of order, or release to manufacturing.

Net 30 Days (upon credit approval).  FOB Factory.  Freight not included.  Please issue PO to Cincinnati Fan c/o Todd Air Solutions.  All Cincinnati Fan & Ventilator Company terms and conditions of sale will apply.  When ordering, refer to the Quotation # at the top of this proposal.

Sincerely,

Thomas G. Todd

Todd Air Solutions