Customer:	Coastal Carolina C.C.

Contact:	Carol Phillips

Phone: 	 	910-938-6343

Email:		 phillipsc@coastalcarolina.edu

Date:  5/17/12

Project #: 18513

Sales Order #:

Serial #: N/A

Model #:N/A

AEI Crew:  Bill B., Rodney, John

SCOPE OF PROJECT:        (Installation) – Service – Warranty – Demo – Delivery - Engineering

- Removed Fan outlet elbow with bird screen

- Installed silencer to fan outlet

- Reinstalled Fan outlet elbow with bird screen

- Installed silencer supports

- Cleaned roof area

- Upgraded all welding fume arms with new heavier flex joints.

- Cleaned shop area

Thanks,

Bill Boisvert

Bill Boisvert - Cell (919) 971-3910

Project Manager – Avani Environmental

E-mail bboisvert@avanienvironmental.com

CUST0MER REMARKS: _____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Customer Signature: _________________________________________Date:___________________

Title or Department: ________________________________________________________________