Date: 12/12/07			  	     PO#: 	 	            IAQ Crew:  Bill,

David, Israel

Customer:	Eaton 						Installation:  X

Aguascalientes, Mexico			Service:

Warranty:

Repair:

# Scope Of Project

- 12/9/07

  - Installed all four plenum boxes

  - Ran all duct to System Four

  - Verified all filters tight

- 12/10/07

  - Ran all duct and connected all six drop on System Three

  - Installed all Vertical 12”Duct on Systems One and Two

  - Started Header for system Two

- 12/11/07

  - Completed duct and machine connections on System Two

  - Completed duct and connected two machines to System One

- 12/12/07

  - Verified ration of all four fans

  - Installed four blast gates in system One

  - Boxed all left over duct (Three Boxes)

CUSTOMER REMARKS:

CUSTOMER SIGNATURE:						DATE:

TITLE OR DEPARTMENT: