## Sheet1
Model ODR9000 | PU 1 Loading | Filter 1 | Filter 2 | Filter 3 | Ductwork 2 sets of 3 slots 2" x 20"
Serial # 2007-1352 |  |  |  |  | Slot Velocity 2500, 2526, 2900
Machine # Die Cast #1 | fpm | SP | SP | SP | 22" discharge 60hz .42-.8 VP 2500-3500fpm
Description Outlet 22" dia 60hz 3000fpm |  |  |  |  | 6500-9000cfm Average is 7750cfm SP over 10"
Inlet 16" 5500fpm |  |  |  |  | Changed duct work to 2 sets 12X 20 2 slots 2X12
Fan Design 7500cfm @ 14" SP |  |  |  |  | .45-.70 VP 7000-8500cfm Average 7750cfm
Absolent suggested CFM 7050 |  |  |  |  | 50 Hz .31-.48VP 2300-2800fpm 6500-7000cfm
Statrc pressure 8"
NOTE: You can add up to 1.244 sq.ft of additional openings on the inlet plenum and still maintain inlet velocity of 2500 to 3000fpm.
Model ODR2000 | PU 1 Loading | Filter 1 | Filter 2 | Filter 3 | MISC.
Serial # 2007-1316
Machine # Injection Filter | fpm | SP | SP | SP
Description