## Sheet1
Installed On | Part No. | Description | Serial No. | Rated Voltage | Frequency | Rated Current | Rated Output load | COS
TC Case - VH5 Maxchine | 11002051 | ODF-2000 | 20061323 | 208 | 60 | 10.6 | 2.6 KW | 0.89 | New Plated Needed
VB Line - Vertical Mill | 11002051 | ODF-2000 | 20061349 | 208 | 60 | 10.6 | 2.6 KW | 0.89 | New Plated Needed
TC Case - NC Machines | 11004501 | ODF-4000TF | 20061326 | 208 | 60 | 15.8 | 4.0 KW | 0.9 | New Plated Needed
M Case - NC Machines | 11004501 | ODF-4000TF | 20061327 | 208 | 60 | 15.8 | 4.0 KW | 0.9 | New Plated Needed
M Case - TH Machine | 11004501 | ODF-4000TF | 20061325 | 208 | 60 | 15.8 | 4.0 KW | 0.9 | New Plated Needed
VB Line - P-Type Module | 11004501 | ODF-4000TF | 20061604 | 208 | 60 | 15.8 | 4.0 KW | 0.9 | New Plated Needed
VB Line - Oil Hole Machine | 11004501 | ODF-4000TF | 20061603 | 208 | 60 | 15.8 | 4.0 KW | 0.9 | New Plated Needed
VB Line - Fine Bore Machine | 11004501 | ODF-4000TF | 20061324 | 208 | 60 | 15.8 | 4.0 KW | 0.9 | New Plated Needed
TC Case - NC Machies | 11006051 | ODF-6000 | 20061608 | 3X208 | 60 | 3X10.6 | 2.6 KW | 0.89 | New Plated Needed
TC Case - NC Machies | 11006051 | ODF-6000 | 20061607 | 3X208 | 60 | 3X10.6 | 2.6 KW | 0.89 | New Plated Needed
TC Case - Pack Machine #1 | 11006051 | ODF-6000 | 20061612 | 3X208 | 60 | 3X10.6 | 2.6 KW | 0.89 | New Plated Needed
TC Case - Pack Machine #2 | 11006051 | ODF-6000 | 20061605 | 3X208 | 60 | 3X10.6 | 2.6 KW | 0.89 | New Plated Needed
M Case - NC Machines | 11006051 | ODF-6000 | 20061329 | 3X208 | 60 | 3X10.6 | 2.6 KW | 0.89 | New Plated Needed
M Case - NC Machines | 11006051 | ODF-6000 | 20061328 | 3X208 | 60 | 3X10.6 | 2.6 KW | 0.89 | New Plated Needed
M Case - Pack Machine #1 | 11006051 | ODF-6000 | 20061611 | 3X208 | 60 | 3X10.6 | 2.6 KW | 0.89 | New Plated Needed
M Case - Pack Machine #2 | 11006051 | ODF-6000 | 20061606 | 3X208 | 60 | 3X10.6 | 2.6 KW | 0.89 | New Plated Needed
VB Line - Grinder | 11006051 | ODF-6000 | 20061610 | 3X208 | 60 | 3X10.6 | 2.6 KW | 0.89 | New Plated Needed
VB Line - Spool Hole Transfer | 11006051 | ODF-6000 | 20061609 | 3X208 | 60 | 3X10.6 | 2.6 KW | 0.89 | New Plated Needed
Washer #1 | 11004501 | ODF-4000TF | 20060917 | 480 | 60 | 8.25 | 4.8 KW | 0.9 | New Plate Not Needed
Washer #2 | 11004501 | ODF-4000TF | 20060918 | 480 | 60 | 8.25 | 4.8 KW | 0.9 | New Plate Not Needed
VB Line - Washer | 11004501 | ODF-4000TF | 20061602 | 480 | 60 | 8.25 | 4.8 KW | 0.9 | New Plate Not Needed

## Name plate
Installed On | Part No. | Description | Serial No. | Rated Voltage | Frequency | Rated Current | Rated Output load | COS
TC Case - VH5 Maxchine | 11002051 | ODF-2000 | 20061323 | 208 | 60 | 10.6 | 2.6 KW | 0.89
VB Line - Vertical Mill | 11002051 | ODF-2000 | 20061349 | 208 | 60 | 10.6 | 2.6 KW | 0.89
TC Case - NC Machines | 11004501 | ODF-4000TF | 20061326 | 208 | 60 | 15.8 | 4.0 KW | 0.9
M Case - NC Machines | 11004501 | ODF-4000TF | 20061327 | 208 | 60 | 15.8 | 4.0 KW | 0.9
M Case - TH Machine | 11004501 | ODF-4000TF | 20061325 | 208 | 60 | 15.8 | 4.0 KW | 0.9
VB Line - P-Type Module | 11004501 | ODF-4000TF | 20061604 | 208 | 60 | 15.8 | 4.0 KW | 0.9
VB Line - Oil Hole Machine | 11004501 | ODF-4000TF | 20061603 | 208 | 60 | 15.8 | 4.0 KW | 0.9
VB Line - Fine Bore Machine | 11004501 | ODF-4000TF | 20061324 | 208 | 60 | 15.8 | 4.0 KW | 0.9
TC Case - NC Machies | 11006051 | ODF-6000 | 20061608 | 3X208 | 60 | 3X10.6 | 2.6 KW | 0.89
TC Case - NC Machies | 11006051 | ODF-6000 | 20061607 | 3X208 | 60 | 3X10.6 | 2.6 KW | 0.89
TC Case - Pack Machine #1 | 11006051 | ODF-6000 | 20061612 | 3X208 | 60 | 3X10.6 | 2.6 KW | 0.89
TC Case - Pack Machine #2 | 11006051 | ODF-6000 | 20061605 | 3X208 | 60 | 3X10.6 | 2.6 KW | 0.89
M Case - NC Machines | 11006051 | ODF-6000 | 20061329 | 3X208 | 60 | 3X10.6 | 2.6 KW | 0.89
M Case - NC Machines | 11006051 | ODF-6000 | 20061328 | 3X208 | 60 | 3X10.6 | 2.6 KW | 0.89
M Case - Pack Machine #1 | 11006051 | ODF-6000 | 20061611 | 3X208 | 60 | 3X10.6 | 2.6 KW | 0.89
M Case - Pack Machine #2 | 11006051 | ODF-6000 | 20061606 | 3X208 | 60 | 3X10.6 | 2.6 KW | 0.89
VB Line - Grinder | 11006051 | ODF-6000 | 20061610 | 3X208 | 60 | 3X10.6 | 2.6 KW | 0.89
VB Line - Spool Hole Transfer | 11006051 | ODF-6000 | 20061609 | 3X208 | 60 | 3X10.6 | 2.6 KW | 0.89

## 9 26 07 readings
Date:
HEPA
Installed On | Description | Serial No. | 1st Stage | 2nd Stage | HEPA
TC Case - VH5 Maxchine | ODF-2000 | 20061323
VB Line - Vertical Mill | ODF-2000 | 20061349
TC Case - NC Machines | ODF-4000TF | 20061326
M Case - NC Machines | ODF-4000TF | 20061327
M Case - TH Machine | ODF-4000TF | 20061325
VB Line - P-Type Module | ODF-4000TF | 20061604
VB Line - Oil Hole Machine | ODF-4000TF | 20061603
VB Line - Fine Bore Machine | ODF-4000TF | 20061324
TC Case - NC Machies | ODF-6000 | 20061608
TC Case - NC Machies | ODF-6000 | 20061607
TC Case - Pack Machine #1 | ODF-6000 | 20061612
TC Case - Pack Machine #2 | ODF-6000 | 20061605
M Case - NC Machines | ODF-6000 | 20061329
M Case - NC Machines | ODF-6000 | 20061328
M Case - Pack Machine #1 | ODF-6000 | 20061611
M Case - Pack Machine #2 | ODF-6000 | 20061606
VB Line - Grinder | ODF-6000 | 20061610
VB Line - Spool Hole Transfer | ODF-6000 | 20061609
Washer #1 | ODF-4000TF | 20060917
Washer #2 | ODF-4000TF | 20060918
VB Line - Washer | ODF-4000TF | 20061602

## 2 26 15 readings
Date:
HEPA
Installed On | Description | Serial No. | 1st Stage | 2nd Stage | HEPA | 1st Stage | 2nd Stage | HEPA | 1st Stage | 2nd Stage | HEPA
TC Case - VH5 Maxchine | ODF-2000 | 20061323
VB Line - Vertical Mill | ODF-2000 | 20061349
TC Case - NC Machines | ODF-4000TF | 20061326
M Case - NC Machines | ODF-4000TF | 20061327
M Case - TH Machine | ODF-4000TF | 20061325
VB Line - P-Type Module | ODF-4000TF | 20061604
VB Line - Oil Hole Machine | ODF-4000TF | 20061603
VB Line - Fine Bore Machine | ODF-4000TF | 20061324
TC Case - NC Machies | ODF-6000 | 20061608
TC Case - NC Machies | ODF-6000 | 20061607
TC Case - Pack Machine #1 | ODF-6000 | 20061612
TC Case - Pack Machine #2 | ODF-6000 | 20061605
M Case - NC Machines | ODF-6000 | 20061329
M Case - NC Machines | ODF-6000 | 20061328
M Case - Pack Machine #1 | ODF-6000 | 20061611
M Case - Pack Machine #2 | ODF-6000 | 20061606
VB Line - Grinder | ODF-6000 | 20061610
VB Line - Spool Hole Transfer | ODF-6000 | 20061609
Washer #1 | ODF-4000TF | 20060917
Washer #2 | ODF-4000TF | 20060918
VB Line - Washer | ODF-4000TF | 20061602