Avani Environmental

95 Cypress Drive      Youngsville, NC  27596

P# 919-570-2862

Packing List SO 18720 ship by 7/6/12

Ship to:	Honda of GA

HPG MRO

55 Honda Parkway

Tallapoosa, GA 30176

Attn: Andrew Soucek

PO#6500024514

| ø | Description JACOB TUBE | Qty** Needed | Qty Picked | Qty Shipped | Back-ordered |
| --- | --- | --- | --- | --- | --- |
| 8” | Plenum Box Jacob Tube Flange | 1 |  |  |  |
| 6” | 2000mm tube | 4 |  |  |  |
| 8” | 2000mm tube | 6 |  |  |  |
| 8” | 1000mm tube | 3 |  |  |  |
| 6” | 500mm tube | 3 |  |  |  |
| 6” | Clamps | 8 |  |  |  |
| 8” | Clamps | 23 |  |  |  |
| 6” | Gaskets | 14 |  |  |  |
| 8” | Gaskets | 23 |  |  |  |
| 8” | Slip Tube 1000mm | 2 |  |  |  |
| 8” | Slip Tube 500mm | 2 |  |  |  |
| 6” | Slip Tube 200mm | 2 |  |  |  |
| 6” | Ring Seal | 5 |  |  |  |
| 8” | Ring Seal | 5 |  |  |  |
| 6” | 90 Deg Elbow | 3 |  |  |  |
| 8” | 90 deg elbow | 2 |  |  |  |
| 8” | 45 deg elbow | 1 |  |  |  |
| 6” | 60 deg elbow | 1 |  |  |  |
| 8” | 8/8/8 Fork | 1 |  |  |  |

Pulled By: ______________		Shipped On:

Packaged By: ____________		Ship Via: Best Way

Tracking:

Bill to: Honda 18720