## MASTER
AGENT VOLUMNE
UNITS | BRAND | MODEL | DEMINSIONS (APRX) | SQ FT | CO2 | Dry Chem | FM200
4 | Trane | Voyager TDC300B40AHB | 15' X 8' X 6' | 720 | 50 | 10 | 36
6 | Trane | Voyager TDC420A40G2A2DC | 15' X 8' X 6 | 720 | 50 | 10 | 36
4 | Trane | YSC060A3RLA0K | 3' X 6' X 4' | 72 | 10 | 2.5 | 3
2 | Carrier | 50EJ-038-6-CC | 6' X 7' X 14' | 588 | 35 | 10 | 24
1 | Carrier | 48TJE05 601GA | 7' X 7' X 4' | 196 | 20 | 5 | 12
3 | NO NAME box with coils and blower | 50DF024 | 8' x 4' x 4' | 128 | 10 | 2.5 | 6
1 | lower compartment for an | ODR 3000 | 12' x 3.5' x 4' | 168 | 20 | 5 | 12
UNIT COST
| BRAND | MODEL | UNITS |  | CO2 | Dry Chem | FM200
| Trane | Voyager TDC300B40AHB | 4 |  | 2342 | 1295.5 | 4620
| Trane | Voyager TDC420A40G2A2DC | 6 |  | 2342 | 1295.5 | 4620
| Trane | YSC060A3RLA0K | 4 |  | 1542 | 1074.875 | 1136
| Carrier | 50EJ-038-6-CC | 2 |  | 2004 | 1295.5 | 3080
| Carrier | 48TJE05 601GA | 1 |  | 1749.25 | 1153 | 1540
| NO NAME box with coils and blower | 50DF024 | 3 |  | 1542 | 1074.875 | 1249
| lower compartment for an | ODR 3000 | 1 |  | 1749.25 | 1153 | 1540
TOTAL COST PER MODEL
| BRAND | MODEL | UNITS |  | CO2 | Dry Chem | FM200
| Trane | Voyager TDC300B40AHB | 4 |  | 9368 | 5182 | 18480
| Trane | Voyager TDC420A40G2A2DC | 6 |  | 14052 | 7773 | 27720
| Trane | YSC060A3RLA0K | 4 |  | 6168 | 4299.5 | 4544
| Carrier | 50EJ-038-6-CC | 2 |  | 4008 | 2591 | 6160
| Carrier | 48TJE05 601GA | 1 |  | 1749.25 | 1153 | 1540
| NO NAME box with coils and blower | 50DF024 | 3 |  | 4626 | 3224.625 | 3747
| lower compartment for an | ODR 3000 | 1 |  | 1749.25 | 1153 | 1540
[5 empty] | 41720.5 | 25376.125 | 63731
| CO2 | Not tolerant of extreme temperatures, if high pressure is desired suggest FE-13 as an alternative
| Dry Chem | Very versital. Only drawback is a need for clean-up after discharge. Recommended for these applications
| FM200 | Not tolerant of extreme tempertures, not recommended for this application

## CO2 50LB
Firetrace International Order Form
|  |  | IHP |  |  | 2026-07-29
[5 empty] | Discount %: | 50
Bill to: |  |  |  | Ship to:
Company |  |  |  | Company
Address |  |  |  | Address
City/State/Zip |  |  |  | City/St/Zip
Attn: |  |  |  | Attn:
Phone
Application:
Item | Qty | Part # | Description | Unit $ | Disc. Unit $ | Total $
1 |  |  | HIGH PRESSURE ASSEMBLIES
|  | 950504 | 5 LB Carbon Dioxide Assembly | 1624 | 812 | 0
|  | 951004 | 10 LB Carbon Dioxide Assembly | 1680 | 840 | 0
|  | 952004 | 20 LB Carbon Dioxide Assembly | 2010 | 1005 | 0
|  | 953504 | 35 LB Carbon Dioxide Assembly | 2240 | 1120 | 0
| 1 | 955004 | 50 LB Carbon Dioxide Assembly | 2868 | 1434 | 1434
2 |  |  | INITIATING DEVICES
| 50 | 200005 | Firetrace Tubing (Ft.) | 10.5 | 5.25 | 262.5
|  | 400312 | 12 vdc Electric Solenoid Valve | 294 | 147 | 0
|  | 400324 | 24 vdc Electric Solenoid Valve | 294 | 147 | 0
|  | 600066 | Manual Release | 350 | 175 | 0
3 |  |  | CONNECTORS
|  | 200157 | SLIP-ON "T" Connector | 146 | 73 | 0
|  | 200158 | SLIP-ON Straight Connector | 110 | 55 | 0
|  | 200159 | SLIP-ON 90 Transition | 100 | 50 | 0
|  | 200177 | SLIP-ON "T" Transition | 140 | 70 | 0
|  | 200178 | SLIP-ON 90 Connector | 110 | 55 | 0
| 2 | 200179 | SLIP-ON Straight Transition | 96 | 48 | 96
4 |  |  | ADAPTERS
| 1 | 200168 | End-of-Line Adapter | 154 | 77 | 77
|  | 200169 | In-Line Adapter | 220 | 110 | 0
|  | 310400 | Direct to Indirect Valve Adapter | 220 | 110 | 0
|  | 200133 | End of Line Plug | 17 | 8.5 | 0
5 |  |  | SUPPRESSION AGENTS
| 50 | 700002 | Carbon Dioxide (CO2) (per lb) | 3.2 | 1.6 | 80
|  | 700009 | FE-13 (DuPont) for low temp applcn | 40 | 20 | 0
6 |  |  | OUTPUT DEVICES
| 1 | 400001 | Pressure Switch (on Valve) | 240 | 120 | 120
|  | 400004 | Pressure Switch (on EOL or ILA) | 240 | 120 | 0
7 |  |  | INDICATING DEVICES
| 1 | 400027 | Generic Pressure Gauge (150 psi) | 46 | 23 | 23
|  | 600090 | Battery Operated Alarm Horn | 372 | 186 | 0
8 |  |  | CLIPS & GROMMETS
| 2 | 200171 | Tube Mounting Clips (pkg 12) | 16 | 8 | 16
| 2 | 200181 | Magnet Mounts (pkg 12) | 46 | 23 | 46
| 1 | 200151 | Plastic Grommets (Pkg 2 ) | 21 | 10.5 | 10.5
9 |  |  | NOZZLES for CARBON DIOXIDE (CO2)
| 1 | 500024 | 1/2" Total Flooding CO2 Nozzle | 84 | 42 | 42
|  | 510010 | 1/4" Total Flooding CO2 Nozzle | 64 | 32 | 0
|  | 510015 | Wide Cone Dispersion Nozzle | 54 | 27 | 0
|  | 510016 | Narrow Cone Dispersion Nozzle | 54 | 27 | 0
14 |  |  | HIGH PRESSURE DISCHARGE HOSES
|  | 201802 | 2' Hose w/ (2) 1/2" 90 Swivel | 208 | 104 | 0
|  | 201804 | 4' Hose w/ (2) 1/2" 90 Swivel | 232 | 116 | 0
|  | 201806 | 6' Hose w/ (2) 1/2" 90 Swivel | 246 | 123 | 0
|  | 201808 | 8' Hose w/ (2) 1/2" 90 Swivel | 258 | 129 | 0
| 1 | 201810 | 10' Hose w/ (2) 1/2" 90 Swivel | 270 | 135 | 135
|  |  | FIRETRACE INDIRECT HIGH PRESSURE Fire Suppression Systems |  |  | 2342
Terms: Net 30 / FOB Scottsdale, AZ 85260 |  |  |  | Delivery: 2 - 3 Weeks ARO
Taxes & Shipping Added Accordingly
Installation & Installation Materials NOT Included
Kevin Hoover |  |  | Regional Sales Manager

## CO2 35LB
Firetrace International Order Form
|  |  | IHP |  |  | 2026-07-29
[5 empty] | Discount %: | 50
Bill to: |  |  |  | Ship to:
Company |  |  |  | Company
Address |  |  |  | Address
City/State/Zip |  |  |  | City/St/Zip
Attn: |  |  |  | Attn:
Phone
Application:
Item | Qty | Part # | Description | Unit $ | Disc. Unit $ | Total $
1 |  |  | HIGH PRESSURE ASSEMBLIES
|  | 950504 | 5 LB Carbon Dioxide Assembly | 1624 | 812 | 0
|  | 951004 | 10 LB Carbon Dioxide Assembly | 1680 | 840 | 0
|  | 952004 | 20 LB Carbon Dioxide Assembly | 2010 | 1005 | 0
| 1 | 953504 | 35 LB Carbon Dioxide Assembly | 2240 | 1120 | 1120
|  | 955004 | 50 LB Carbon Dioxide Assembly | 2868 | 1434 | 0
2 |  |  | INITIATING DEVICES
| 50 | 200005 | Firetrace Tubing (Ft.) | 10.5 | 5.25 | 262.5
|  | 400312 | 12 vdc Electric Solenoid Valve | 294 | 147 | 0
|  | 400324 | 24 vdc Electric Solenoid Valve | 294 | 147 | 0
|  | 600066 | Manual Release | 350 | 175 | 0
3 |  |  | CONNECTORS
|  | 200157 | SLIP-ON "T" Connector | 146 | 73 | 0
|  | 200158 | SLIP-ON Straight Connector | 110 | 55 | 0
|  | 200159 | SLIP-ON 90 Transition | 100 | 50 | 0
|  | 200177 | SLIP-ON "T" Transition | 140 | 70 | 0
|  | 200178 | SLIP-ON 90 Connector | 110 | 55 | 0
| 2 | 200179 | SLIP-ON Straight Transition | 96 | 48 | 96
4 |  |  | ADAPTERS
| 1 | 200168 | End-of-Line Adapter | 154 | 77 | 77
|  | 200169 | In-Line Adapter | 220 | 110 | 0
|  | 310400 | Direct to Indirect Valve Adapter | 220 | 110 | 0
|  | 200133 | End of Line Plug | 17 | 8.5 | 0
5 |  |  | SUPPRESSION AGENTS
| 35 | 700002 | Carbon Dioxide (CO2) (per lb) | 3.2 | 1.6 | 56
|  | 700009 | FE-13 (DuPont) for low temp applcn | 40 | 20 | 0
6 |  |  | OUTPUT DEVICES
| 1 | 400001 | Pressure Switch (on Valve) | 240 | 120 | 120
|  | 400004 | Pressure Switch (on EOL or ILA) | 240 | 120 | 0
7 |  |  | INDICATING DEVICES
| 1 | 400027 | Generic Pressure Gauge (150 psi) | 46 | 23 | 23
|  | 600090 | Battery Operated Alarm Horn | 372 | 186 | 0
8 |  |  | CLIPS & GROMMETS
| 2 | 200171 | Tube Mounting Clips (pkg 12) | 16 | 8 | 16
| 2 | 200181 | Magnet Mounts (pkg 12) | 46 | 23 | 46
| 1 | 200151 | Plastic Grommets (Pkg 2 ) | 21 | 10.5 | 10.5
9 |  |  | NOZZLES for CARBON DIOXIDE (CO2)
| 1 | 500024 | 1/2" Total Flooding CO2 Nozzle | 84 | 42 | 42
|  | 510010 | 1/4" Total Flooding CO2 Nozzle | 64 | 32 | 0
|  | 510015 | Wide Cone Dispersion Nozzle | 54 | 27 | 0
|  | 510016 | Narrow Cone Dispersion Nozzle | 54 | 27 | 0
14 |  |  | HIGH PRESSURE DISCHARGE HOSES
|  | 201802 | 2' Hose w/ (2) 1/2" 90 Swivel | 208 | 104 | 0
|  | 201804 | 4' Hose w/ (2) 1/2" 90 Swivel | 232 | 116 | 0
|  | 201806 | 6' Hose w/ (2) 1/2" 90 Swivel | 246 | 123 | 0
|  | 201808 | 8' Hose w/ (2) 1/2" 90 Swivel | 258 | 129 | 0
| 1 | 201810 | 10' Hose w/ (2) 1/2" 90 Swivel | 270 | 135 | 135
|  |  | FIRETRACE INDIRECT HIGH PRESSURE Fire Suppression Systems |  |  | 2004
Terms: Net 30 / FOB Scottsdale, AZ 85260 |  |  |  | Delivery: 2 - 3 Weeks ARO
Taxes & Shipping Added Accordingly
Installation & Installation Materials NOT Included
Kevin Hoover |  |  | Regional Sales Manager

## CO2 20LB
Firetrace International Order Form
|  |  | IHP |  |  | 2026-07-29
[5 empty] | Discount %: | 50
Bill to: |  |  |  | Ship to:
Company |  |  |  | Company
Address |  |  |  | Address
City/State/Zip |  |  |  | City/St/Zip
Attn: |  |  |  | Attn:
Phone
Application:
Item | Qty | Part # | Description | Unit $ | Disc. Unit $ | Total $
1 |  |  | HIGH PRESSURE ASSEMBLIES
|  | 950504 | 5 LB Carbon Dioxide Assembly | 1624 | 812 | 0
|  | 951004 | 10 LB Carbon Dioxide Assembly | 1680 | 840 | 0
| 1 | 952004 | 20 LB Carbon Dioxide Assembly | 2010 | 1005 | 1005
|  | 953504 | 35 LB Carbon Dioxide Assembly | 2240 | 1120 | 0
|  | 955004 | 50 LB Carbon Dioxide Assembly | 2868 | 1434 | 0
2 |  |  | INITIATING DEVICES
| 35 | 200005 | Firetrace Tubing (Ft.) | 10.5 | 5.25 | 183.75
|  | 400312 | 12 vdc Electric Solenoid Valve | 294 | 147 | 0
|  | 400324 | 24 vdc Electric Solenoid Valve | 294 | 147 | 0
|  | 600066 | Manual Release | 350 | 175 | 0
3 |  |  | CONNECTORS
|  | 200157 | SLIP-ON "T" Connector | 146 | 73 | 0
|  | 200158 | SLIP-ON Straight Connector | 110 | 55 | 0
|  | 200159 | SLIP-ON 90 Transition | 100 | 50 | 0
|  | 200177 | SLIP-ON "T" Transition | 140 | 70 | 0
|  | 200178 | SLIP-ON 90 Connector | 110 | 55 | 0
| 2 | 200179 | SLIP-ON Straight Transition | 96 | 48 | 96
4 |  |  | ADAPTERS
| 1 | 200168 | End-of-Line Adapter | 154 | 77 | 77
|  | 200169 | In-Line Adapter | 220 | 110 | 0
|  | 310400 | Direct to Indirect Valve Adapter | 220 | 110 | 0
|  | 200133 | End of Line Plug | 17 | 8.5 | 0
5 |  |  | SUPPRESSION AGENTS
| 20 | 700002 | Carbon Dioxide (CO2) (per lb) | 3.2 | 1.6 | 32
|  | 700009 | FE-13 (DuPont) for low temp applcn | 40 | 20 | 0
6 |  |  | OUTPUT DEVICES
| 1 | 400001 | Pressure Switch (on Valve) | 240 | 120 | 120
|  | 400004 | Pressure Switch (on EOL or ILA) | 240 | 120 | 0
7 |  |  | INDICATING DEVICES
| 1 | 400027 | Generic Pressure Gauge (150 psi) | 46 | 23 | 23
|  | 600090 | Battery Operated Alarm Horn | 372 | 186 | 0
8 |  |  | CLIPS & GROMMETS
| 1 | 200171 | Tube Mounting Clips (pkg 12) | 16 | 8 | 8
| 1 | 200181 | Magnet Mounts (pkg 12) | 46 | 23 | 23
| 1 | 200151 | Plastic Grommets (Pkg 2 ) | 21 | 10.5 | 10.5
9 |  |  | NOZZLES for CARBON DIOXIDE (CO2)
| 1 | 500024 | 1/2" Total Flooding CO2 Nozzle | 84 | 42 | 42
|  | 510010 | 1/4" Total Flooding CO2 Nozzle | 64 | 32 | 0
|  | 510015 | Wide Cone Dispersion Nozzle | 54 | 27 | 0
|  | 510016 | Narrow Cone Dispersion Nozzle | 54 | 27 | 0
14 |  |  | HIGH PRESSURE DISCHARGE HOSES
|  | 201802 | 2' Hose w/ (2) 1/2" 90 Swivel | 208 | 104 | 0
|  | 201804 | 4' Hose w/ (2) 1/2" 90 Swivel | 232 | 116 | 0
|  | 201806 | 6' Hose w/ (2) 1/2" 90 Swivel | 246 | 123 | 0
| 1 | 201808 | 8' Hose w/ (2) 1/2" 90 Swivel | 258 | 129 | 129
|  | 201810 | 10' Hose w/ (2) 1/2" 90 Swivel | 270 | 135 | 0
|  |  | FIRETRACE INDIRECT HIGH PRESSURE Fire Suppression Systems |  |  | 1749.25
Terms: Net 30 / FOB Scottsdale, AZ 85260 |  |  |  | Delivery: 2 - 3 Weeks ARO
Taxes & Shipping Added Accordingly
Installation & Installation Materials NOT Included
Kevin Hoover |  |  | Regional Sales Manager

## CO2 10LB
Firetrace International Order Form
|  |  | IHP |  |  | 2026-07-29
[5 empty] | Discount %: | 50
Bill to: |  |  |  | Ship to:
Company |  |  |  | Company
Address |  |  |  | Address
City/State/Zip |  |  |  | City/St/Zip
Attn: |  |  |  | Attn:
Phone
Application:
Item | Qty | Part # | Description | Unit $ | Disc. Unit $ | Total $
1 |  |  | HIGH PRESSURE ASSEMBLIES
|  | 950504 | 5 LB Carbon Dioxide Assembly | 1624 | 812 | 0
| 1 | 951004 | 10 LB Carbon Dioxide Assembly | 1680 | 840 | 840
|  | 952004 | 20 LB Carbon Dioxide Assembly | 2010 | 1005 | 0
|  | 953504 | 35 LB Carbon Dioxide Assembly | 2240 | 1120 | 0
|  | 955004 | 50 LB Carbon Dioxide Assembly | 2868 | 1434 | 0
2 |  |  | INITIATING DEVICES
| 30 | 200005 | Firetrace Tubing (Ft.) | 10.5 | 5.25 | 157.5
|  | 400312 | 12 vdc Electric Solenoid Valve | 294 | 147 | 0
|  | 400324 | 24 vdc Electric Solenoid Valve | 294 | 147 | 0
|  | 600066 | Manual Release | 350 | 175 | 0
3 |  |  | CONNECTORS
|  | 200157 | SLIP-ON "T" Connector | 146 | 73 | 0
|  | 200158 | SLIP-ON Straight Connector | 110 | 55 | 0
|  | 200159 | SLIP-ON 90 Transition | 100 | 50 | 0
|  | 200177 | SLIP-ON "T" Transition | 140 | 70 | 0
|  | 200178 | SLIP-ON 90 Connector | 110 | 55 | 0
| 2 | 200179 | SLIP-ON Straight Transition | 96 | 48 | 96
4 |  |  | ADAPTERS
| 1 | 200168 | End-of-Line Adapter | 154 | 77 | 77
|  | 200169 | In-Line Adapter | 220 | 110 | 0
|  | 310400 | Direct to Indirect Valve Adapter | 220 | 110 | 0
|  | 200133 | End of Line Plug | 17 | 8.5 | 0
5 |  |  | SUPPRESSION AGENTS
| 10 | 700002 | Carbon Dioxide (CO2) (per lb) | 3.2 | 1.6 | 16
|  | 700009 | FE-13 (DuPont) for low temp applcn | 40 | 20 | 0
6 |  |  | OUTPUT DEVICES
| 1 | 400001 | Pressure Switch (on Valve) | 240 | 120 | 120
|  | 400004 | Pressure Switch (on EOL or ILA) | 240 | 120 | 0
7 |  |  | INDICATING DEVICES
| 1 | 400027 | Generic Pressure Gauge (150 psi) | 46 | 23 | 23
|  | 600090 | Battery Operated Alarm Horn | 372 | 186 | 0
8 |  |  | CLIPS & GROMMETS
| 1 | 200171 | Tube Mounting Clips (pkg 12) | 16 | 8 | 8
| 1 | 200181 | Magnet Mounts (pkg 12) | 46 | 23 | 23
| 1 | 200151 | Plastic Grommets (Pkg 2 ) | 21 | 10.5 | 10.5
9 |  |  | NOZZLES for CARBON DIOXIDE (CO2)
| 1 | 500024 | 1/2" Total Flooding CO2 Nozzle | 84 | 42 | 42
|  | 510010 | 1/4" Total Flooding CO2 Nozzle | 64 | 32 | 0
|  | 510015 | Wide Cone Dispersion Nozzle | 54 | 27 | 0
|  | 510016 | Narrow Cone Dispersion Nozzle | 54 | 27 | 0
14 |  |  | HIGH PRESSURE DISCHARGE HOSES
|  | 201802 | 2' Hose w/ (2) 1/2" 90 Swivel | 208 | 104 | 0
|  | 201804 | 4' Hose w/ (2) 1/2" 90 Swivel | 232 | 116 | 0
|  | 201806 | 6' Hose w/ (2) 1/2" 90 Swivel | 246 | 123 | 0
| 1 | 201808 | 8' Hose w/ (2) 1/2" 90 Swivel | 258 | 129 | 129
|  | 201810 | 10' Hose w/ (2) 1/2" 90 Swivel | 270 | 135 | 0
|  |  | FIRETRACE INDIRECT HIGH PRESSURE Fire Suppression Systems |  |  | 1542
Terms: Net 30 / FOB Scottsdale, AZ 85260 |  |  |  | Delivery: 2 - 3 Weeks ARO
Taxes & Shipping Added Accordingly
Installation & Installation Materials NOT Included
Kevin Hoover |  |  | Regional Sales Manager

## DRY CHEM 10LB
Firetrace International Order Form
|  |  | ILP |  |  | 2026-07-29
[5 empty] | Discount %: | 50
Bill to: |  |  |  | Ship to:
Company |  |  |  | Company
Address |  |  |  | Address
City/State/Zip |  |  |  | City/St/Zip
Attn: |  |  |  | Attn:
Phone
Application: | [5 empty] | 2006 Pricing
Item | Qty | Part # | Description | Unit $ | Disc. Unit $ | Total $
1 |  |  | CLEAN AGENT ASSEMBLIES
|  | 930101 | Xtra-Small ILP Assembly (1 lb) non-UL/FM | 900 | 450 | 0
|  | 940301 | Small ILP Assembly (3 lb) | 1052 | 526 | 0
|  | 940601 | Medium ILP Assembly (6 lb) | 1074 | 537 | 0
|  | 941201 | Large ILP Assembly (12 lb) | 1108 | 554 | 0
2 |  |  | DRY CHEMICAL ASSEMBLIES
|  | 940102 | Xtra-Small ILP Assembly (.83 lb) non-UL/FM | 1030 | 515 | 0
|  | 940202 | Small ILP Assembly (2.5 lb) | 1052 | 526 | 0
|  | 940502 | Medium ILP Assembly (5 lb) | 1074 | 537 | 0
| 1 | 941002 | Large ILP Assembly (10 lb) | 1108 | 554 | 554
|  | 942002 | Xtra-Large ILP Assembly (20 lb) | 1250 | 625 | 0
3 |  |  | AFFF FOAM ASSEMBLIES
|  | 936603 | 6 Liter AFFF Foam Assembly (non FM) | 1140 | 570 | 0
|  | 939903 | 9 Liter AFFF Foam Assembly (non FM) | 1162 | 581 | 0
4 |  |  | INITIATING DEVICES
| 50 | 200005 | Firetrace Tubing (Ft.) | 10.5 | 5.25 | 262.5
|  | 400312 | 12 vdc Electric Solenoid Valve | 294 | 147 | 0
|  | 400324 | 24 vdc Electric Solenoid Valve | 294 | 147 | 0
|  | 600066 | Manual Release | 350 | 175 | 0
5 |  |  | HP Slip-On CONNECTORS
|  | 200157 | HP Line "T" Branch Connector | 146 | 73 | 0
|  | 200158 | HP Straight Connector | 110 | 55 | 0
|  | 200159 | HP 90 Adapter Connector | 100 | 50 | 0
|  | 200177 | HP "T" Adapter Connector | 140 | 70 | 0
|  | 200178 | HP 90 Connector | 110 | 55 | 0
| 2 | 200179 | HP Straight Line Adapter Connector | 96 | 48 | 96
6 |  |  | ADAPTERS
| 1 | 200168 | End-of-Line Adapter | 154 | 77 | 77
|  | 200169 | In-Line Adapter | 220 | 110 | 0
7 |  |  | SUPPRESSION AGENTS
|  | 700001 | FM200 (per lb) GLCC | 46 | 23 | 0
| 10 | 700003 | ABC Dry Chemical Powder (per lb) | 6.3 | 3.15 | 31.5
|  | 700006 | AFFF 3% Foam Solution (per liter) | 6.3 | 3.15 | 0
|  | 700008 | FE-25 (per lb) DuPont | 44 | 22 | 0
|  | 700011 | FE-36 (per lb) DuPont | 42 | 21 | 0
|  | 700010 | NOVEC 1230 3M | 48 | 24 | 0
8 |  |  | OUTPUT DEVICES
| 1 | 400001 | Pressure Switch (on Valve) | 240 | 120 | 120
|  | 400004 | Pressure Switch (on EOL or ILA) | 240 | 120 | 0
9 |  |  | INDICATING DEVICES
|  | 400011 | FM200 Pressure Gauge(150 psi) | 54 | 27 | 0
| 1 | 400013 | Dry Chemical Pressure Gauge (195psi) | 54 | 27 | 27
|  | 400015 | AFFF Foam Pressure Gauge (150psi) | 54 | 27 | 0
|  | 400027 | Generic Pressure Gauge (150psi) | 54 | 27 | 0
|  | 600090 | Battery Operated Alarm Horn (9vdc) | 372 | 186 | 0
10 |  |  | CLIPS & GROMMETS
| 2 | 200171 | Tube Mounting Clips (pkg 12) | 16 | 8 | 16
| 2 | 200181 | Magnet Mounts (pkg 12)(req. clips) | 46 | 23 | 46
| 1 | 200151 | Plastic Grommets (Pkg 2 ) | 21 | 10.5 | 10.5
11 |  |  | NOZZLES for CLEAN AGENTS
|  | 500015 | 5/16" CA "X" Pattern | 44 | 22 | 0
|  | 500018 | 1/2" CA w/ 1/2" NPT Adapter | 100 | 50 | 0
|  | 500019 | 1/2" CA w/ 1/2" Compression Adapter | 100 | 50 | 0
|  | 500020 | 1/2" CA w/ 1/2" Compression Bulkhd | 110 | 55 | 0
12 |  |  | NOZZLES for DRY CHEMICAL
|  | 500015 | 5/16" DC "X" Pattern | 44 | 22 | 0
|  | 500018 | 1/2" DC w/ 1/2" NPT Adapter | 100 | 50 | 0
|  | 500019 | 1/2" DC w/ 1/2" Compression Adapter | 100 | 50 | 0
| 1 | 500020 | 1/2" DC w/ 1/2" Compression Bulkhd | 110 | 55 | 55
|  | 500023 | Class D Nozzle w/ Compression Adapter | 146 | 73 | 0
13 |  |  | NOZZLES for AFFF FOAM
|  |  | Contact Factory @ (866) 607-1218 |  | 0 | 0
14 |  |  | HIGH PRESSURE DISCHARGE HOSES
|  | 201802 | 2' Hose w/ (2) 1/2" 90 Swivel | 208 | 104 | 0
|  | 201804 | 4' Hose w/ (2) 1/2" 90 Swivel | 232 | 116 | 0
|  | 201806 | 6' Hose w/ (2) 1/2" 90 Swivel | 246 | 123 | 0
|  | 201808 | 8' Hose w/ (2) 1/2" 90 Swivel | 258 | 129 | 0
|  | 201810 | 10' Hose w/ (2) 1/2" 90 Swivel | 270 | 135 | 0
|  |  | FIRETRACE INDIRECT Fire Suppression Systems |  |  | 1295.5
Delivery: 2 - 3 Weeks ARO
Terms: Net 30 / FOB Scottsdale, AZ 85260
Taxes & Shipping Added Accordingly
Installation & Installation Materials NOT Included
Kevin Hoover Southeastern Regional Manager

## DRY CHEM 5LB
Firetrace International Order Form
|  |  | ILP |  |  | 2026-07-29
[5 empty] | Discount %: | 50
Bill to: |  |  |  | Ship to:
Company |  |  |  | Company
Address |  |  |  | Address
City/State/Zip |  |  |  | City/St/Zip
Attn: |  |  |  | Attn:
Phone
Application: | [5 empty] | 2006 Pricing
Item | Qty | Part # | Description | Unit $ | Disc. Unit $ | Total $
1 |  |  | CLEAN AGENT ASSEMBLIES
|  | 930101 | Xtra-Small ILP Assembly (1 lb) non-UL/FM | 900 | 450 | 0
|  | 940301 | Small ILP Assembly (3 lb) | 1052 | 526 | 0
|  | 940601 | Medium ILP Assembly (6 lb) | 1074 | 537 | 0
|  | 941201 | Large ILP Assembly (12 lb) | 1108 | 554 | 0
2 |  |  | DRY CHEMICAL ASSEMBLIES
|  | 940102 | Xtra-Small ILP Assembly (.83 lb) non-UL/FM | 1030 | 515 | 0
|  | 940202 | Small ILP Assembly (2.5 lb) | 1052 | 526 | 0
| 1 | 940502 | Medium ILP Assembly (5 lb) | 1074 | 537 | 537
|  | 941002 | Large ILP Assembly (10 lb) | 1108 | 554 | 0
|  | 942002 | Xtra-Large ILP Assembly (20 lb) | 1250 | 625 | 0
3 |  |  | AFFF FOAM ASSEMBLIES
|  | 936603 | 6 Liter AFFF Foam Assembly (non FM) | 1140 | 570 | 0
|  | 939903 | 9 Liter AFFF Foam Assembly (non FM) | 1162 | 581 | 0
4 |  |  | INITIATING DEVICES
| 35 | 200005 | Firetrace Tubing (Ft.) | 10.5 | 5.25 | 183.75
|  | 400312 | 12 vdc Electric Solenoid Valve | 294 | 147 | 0
|  | 400324 | 24 vdc Electric Solenoid Valve | 294 | 147 | 0
|  | 600066 | Manual Release | 350 | 175 | 0
5 |  |  | HP Slip-On CONNECTORS
|  | 200157 | HP Line "T" Branch Connector | 146 | 73 | 0
|  | 200158 | HP Straight Connector | 110 | 55 | 0
|  | 200159 | HP 90 Adapter Connector | 100 | 50 | 0
|  | 200177 | HP "T" Adapter Connector | 140 | 70 | 0
|  | 200178 | HP 90 Connector | 110 | 55 | 0
| 2 | 200179 | HP Straight Line Adapter Connector | 96 | 48 | 96
6 |  |  | ADAPTERS
| 1 | 200168 | End-of-Line Adapter | 154 | 77 | 77
|  | 200169 | In-Line Adapter | 220 | 110 | 0
7 |  |  | SUPPRESSION AGENTS
|  | 700001 | FM200 (per lb) GLCC | 46 | 23 | 0
| 5 | 700003 | ABC Dry Chemical Powder (per lb) | 6.3 | 3.15 | 15.75
|  | 700006 | AFFF 3% Foam Solution (per liter) | 6.3 | 3.15 | 0
|  | 700008 | FE-25 (per lb) DuPont | 44 | 22 | 0
|  | 700011 | FE-36 (per lb) DuPont | 42 | 21 | 0
|  | 700010 | NOVEC 1230 3M | 48 | 24 | 0
8 |  |  | OUTPUT DEVICES
| 1 | 400001 | Pressure Switch (on Valve) | 240 | 120 | 120
|  | 400004 | Pressure Switch (on EOL or ILA) | 240 | 120 | 0
9 |  |  | INDICATING DEVICES
|  | 400011 | FM200 Pressure Gauge(150 psi) | 54 | 27 | 0
| 1 | 400013 | Dry Chemical Pressure Gauge (195psi) | 54 | 27 | 27
|  | 400015 | AFFF Foam Pressure Gauge (150psi) | 54 | 27 | 0
|  | 400027 | Generic Pressure Gauge (150psi) | 54 | 27 | 0
|  | 600090 | Battery Operated Alarm Horn (9vdc) | 372 | 186 | 0
10 |  |  | CLIPS & GROMMETS
| 1 | 200171 | Tube Mounting Clips (pkg 12) | 16 | 8 | 8
| 1 | 200181 | Magnet Mounts (pkg 12)(req. clips) | 46 | 23 | 23
| 1 | 200151 | Plastic Grommets (Pkg 2 ) | 21 | 10.5 | 10.5
11 |  |  | NOZZLES for CLEAN AGENTS
|  | 500015 | 5/16" CA "X" Pattern | 44 | 22 | 0
|  | 500018 | 1/2" CA w/ 1/2" NPT Adapter | 100 | 50 | 0
|  | 500019 | 1/2" CA w/ 1/2" Compression Adapter | 100 | 50 | 0
|  | 500020 | 1/2" CA w/ 1/2" Compression Bulkhd | 110 | 55 | 0
12 |  |  | NOZZLES for DRY CHEMICAL
|  | 500015 | 5/16" DC "X" Pattern | 44 | 22 | 0
|  | 500018 | 1/2" DC w/ 1/2" NPT Adapter | 100 | 50 | 0
|  | 500019 | 1/2" DC w/ 1/2" Compression Adapter | 100 | 50 | 0
| 1 | 500020 | 1/2" DC w/ 1/2" Compression Bulkhd | 110 | 55 | 55
|  | 500023 | Class D Nozzle w/ Compression Adapter | 146 | 73 | 0
13 |  |  | NOZZLES for AFFF FOAM
|  |  | Contact Factory @ (866) 607-1218 |  | 0 | 0
14 |  |  | HIGH PRESSURE DISCHARGE HOSES
|  | 201802 | 2' Hose w/ (2) 1/2" 90 Swivel | 208 | 104 | 0
|  | 201804 | 4' Hose w/ (2) 1/2" 90 Swivel | 232 | 116 | 0
|  | 201806 | 6' Hose w/ (2) 1/2" 90 Swivel | 246 | 123 | 0
|  | 201808 | 8' Hose w/ (2) 1/2" 90 Swivel | 258 | 129 | 0
|  | 201810 | 10' Hose w/ (2) 1/2" 90 Swivel | 270 | 135 | 0
|  |  | FIRETRACE INDIRECT Fire Suppression Systems |  |  | 1153
Delivery: 2 - 3 Weeks ARO
Terms: Net 30 / FOB Scottsdale, AZ 85260
Taxes & Shipping Added Accordingly
Installation & Installation Materials NOT Included
Kevin Hoover Southeastern Regional Manager

## DRY CHEM 2.5LB
Firetrace International Order Form
|  |  | ILP |  |  | 2026-07-29
[5 empty] | Discount %: | 50
Bill to: |  |  |  | Ship to:
Company |  |  |  | Company
Address |  |  |  | Address
City/State/Zip |  |  |  | City/St/Zip
Attn: |  |  |  | Attn:
Phone
Application: | [5 empty] | 2006 Pricing
Item | Qty | Part # | Description | Unit $ | Disc. Unit $ | Total $
1 |  |  | CLEAN AGENT ASSEMBLIES
|  | 930101 | Xtra-Small ILP Assembly (1 lb) non-UL/FM | 900 | 450 | 0
|  | 940301 | Small ILP Assembly (3 lb) | 1052 | 526 | 0
|  | 940601 | Medium ILP Assembly (6 lb) | 1074 | 537 | 0
|  | 941201 | Large ILP Assembly (12 lb) | 1108 | 554 | 0
2 |  |  | DRY CHEMICAL ASSEMBLIES
|  | 940102 | Xtra-Small ILP Assembly (.83 lb) non-UL/FM | 1030 | 515 | 0
| 1 | 940202 | Small ILP Assembly (2.5 lb) | 1052 | 526 | 526
|  | 940502 | Medium ILP Assembly (5 lb) | 1074 | 537 | 0
|  | 941002 | Large ILP Assembly (10 lb) | 1108 | 554 | 0
|  | 942002 | Xtra-Large ILP Assembly (20 lb) | 1250 | 625 | 0
3 |  |  | AFFF FOAM ASSEMBLIES
|  | 936603 | 6 Liter AFFF Foam Assembly (non FM) | 1140 | 570 | 0
|  | 939903 | 9 Liter AFFF Foam Assembly (non FM) | 1162 | 581 | 0
4 |  |  | INITIATING DEVICES
| 30 | 200005 | Firetrace Tubing (Ft.) | 10.5 | 5.25 | 157.5
|  | 400312 | 12 vdc Electric Solenoid Valve | 294 | 147 | 0
|  | 400324 | 24 vdc Electric Solenoid Valve | 294 | 147 | 0
|  | 600066 | Manual Release | 350 | 175 | 0
5 |  |  | HP Slip-On CONNECTORS
|  | 200157 | HP Line "T" Branch Connector | 146 | 73 | 0
|  | 200158 | HP Straight Connector | 110 | 55 | 0
|  | 200159 | HP 90 Adapter Connector | 100 | 50 | 0
|  | 200177 | HP "T" Adapter Connector | 140 | 70 | 0
|  | 200178 | HP 90 Connector | 110 | 55 | 0
| 2 | 200179 | HP Straight Line Adapter Connector | 96 | 48 | 96
6 |  |  | ADAPTERS
| 1 | 200168 | End-of-Line Adapter | 154 | 77 | 77
|  | 200169 | In-Line Adapter | 220 | 110 | 0
7 |  |  | SUPPRESSION AGENTS
|  | 700001 | FM200 (per lb) GLCC | 46 | 23 | 0
| 2.5 | 700003 | ABC Dry Chemical Powder (per lb) | 6.3 | 3.15 | 7.875
|  | 700006 | AFFF 3% Foam Solution (per liter) | 6.3 | 3.15 | 0
|  | 700008 | FE-25 (per lb) DuPont | 44 | 22 | 0
|  | 700011 | FE-36 (per lb) DuPont | 42 | 21 | 0
|  | 700010 | NOVEC 1230 3M | 48 | 24 | 0
8 |  |  | OUTPUT DEVICES
| 1 | 400001 | Pressure Switch (on Valve) | 240 | 120 | 120
|  | 400004 | Pressure Switch (on EOL or ILA) | 240 | 120 | 0
9 |  |  | INDICATING DEVICES
|  | 400011 | FM200 Pressure Gauge(150 psi) | 54 | 27 | 0
| 1 | 400013 | Dry Chemical Pressure Gauge (195psi) | 54 | 27 | 27
|  | 400015 | AFFF Foam Pressure Gauge (150psi) | 54 | 27 | 0
|  | 400027 | Generic Pressure Gauge (150psi) | 54 | 27 | 0
|  | 600090 | Battery Operated Alarm Horn (9vdc) | 372 | 186 | 0
10 |  |  | CLIPS & GROMMETS
| 1 | 200171 | Tube Mounting Clips (pkg 12) | 16 | 8 | 8
| 1 | 200181 | Magnet Mounts (pkg 12)(req. clips) | 46 | 23 | 23
| 1 | 200151 | Plastic Grommets (Pkg 2 ) | 21 | 10.5 | 10.5
11 |  |  | NOZZLES for CLEAN AGENTS
|  | 500015 | 5/16" CA "X" Pattern | 44 | 22 | 0
|  | 500018 | 1/2" CA w/ 1/2" NPT Adapter | 100 | 50 | 0
|  | 500019 | 1/2" CA w/ 1/2" Compression Adapter | 100 | 50 | 0
|  | 500020 | 1/2" CA w/ 1/2" Compression Bulkhd | 110 | 55 | 0
12 |  |  | NOZZLES for DRY CHEMICAL
| 1 | 500015 | 5/16" DC "X" Pattern | 44 | 22 | 22
|  | 500018 | 1/2" DC w/ 1/2" NPT Adapter | 100 | 50 | 0
|  | 500019 | 1/2" DC w/ 1/2" Compression Adapter | 100 | 50 | 0
|  | 500020 | 1/2" DC w/ 1/2" Compression Bulkhd | 110 | 55 | 0
|  | 500023 | Class D Nozzle w/ Compression Adapter | 146 | 73 | 0
13 |  |  | NOZZLES for AFFF FOAM
|  |  | Contact Factory @ (866) 607-1218 |  | 0 | 0
14 |  |  | HIGH PRESSURE DISCHARGE HOSES
|  | 201802 | 2' Hose w/ (2) 1/2" 90 Swivel | 208 | 104 | 0
|  | 201804 | 4' Hose w/ (2) 1/2" 90 Swivel | 232 | 116 | 0
|  | 201806 | 6' Hose w/ (2) 1/2" 90 Swivel | 246 | 123 | 0
|  | 201808 | 8' Hose w/ (2) 1/2" 90 Swivel | 258 | 129 | 0
|  | 201810 | 10' Hose w/ (2) 1/2" 90 Swivel | 270 | 135 | 0
|  |  | FIRETRACE INDIRECT Fire Suppression Systems |  |  | 1074.875
Delivery: 2 - 3 Weeks ARO
Terms: Net 30 / FOB Scottsdale, AZ 85260
Taxes & Shipping Added Accordingly
Installation & Installation Materials NOT Included
Kevin Hoover Southeastern Regional Manager

## FM200 12LB
Firetrace International Order Form
|  |  | ILP |  |  | 2026-07-29
[5 empty] | Discount %: | 50
Bill to: |  |  |  | Ship to:
Company |  |  |  | Company
Address |  |  |  | Address
City/State/Zip |  |  |  | City/St/Zip
Attn: |  |  |  | Attn:
Phone
Application: | [5 empty] | 2006 Pricing
Item | Qty | Part # | Description | Unit $ | Disc. Unit $ | Total $
1 |  |  | CLEAN AGENT ASSEMBLIES
|  | 930101 | Xtra-Small ILP Assembly (1 lb) non-UL/FM | 900 | 450 | 0
|  | 940301 | Small ILP Assembly (3 lb) | 1052 | 526 | 0
|  | 940601 | Medium ILP Assembly (6 lb) | 1074 | 537 | 0
| 1 | 941201 | Large ILP Assembly (12 lb) | 1108 | 554 | 554
2 |  |  | DRY CHEMICAL ASSEMBLIES
|  | 940102 | Xtra-Small ILP Assembly (.83 lb) non-UL/FM | 1030 | 515 | 0
|  | 940202 | Small ILP Assembly (2.5 lb) | 1052 | 526 | 0
|  | 940502 | Medium ILP Assembly (5 lb) | 1074 | 537 | 0
|  | 941002 | Large ILP Assembly (10 lb) | 1108 | 554 | 0
|  | 942002 | Xtra-Large ILP Assembly (20 lb) | 1250 | 625 | 0
3 |  |  | AFFF FOAM ASSEMBLIES
|  | 936603 | 6 Liter AFFF Foam Assembly (non FM) | 1140 | 570 | 0
|  | 939903 | 9 Liter AFFF Foam Assembly (non FM) | 1162 | 581 | 0
4 |  |  | INITIATING DEVICES
| 50 | 200005 | Firetrace Tubing (Ft.) | 10.5 | 5.25 | 262.5
|  | 400312 | 12 vdc Electric Solenoid Valve | 294 | 147 | 0
|  | 400324 | 24 vdc Electric Solenoid Valve | 294 | 147 | 0
|  | 600066 | Manual Release | 350 | 175 | 0
5 |  |  | HP Slip-On CONNECTORS
|  | 200157 | HP Line "T" Branch Connector | 146 | 73 | 0
|  | 200158 | HP Straight Connector | 110 | 55 | 0
|  | 200159 | HP 90 Adapter Connector | 100 | 50 | 0
|  | 200177 | HP "T" Adapter Connector | 140 | 70 | 0
|  | 200178 | HP 90 Connector | 110 | 55 | 0
| 2 | 200179 | HP Straight Line Adapter Connector | 96 | 48 | 96
6 |  |  | ADAPTERS
| 1 | 200168 | End-of-Line Adapter | 154 | 77 | 77
|  | 200169 | In-Line Adapter | 220 | 110 | 0
7 |  |  | SUPPRESSION AGENTS
| 12 | 700001 | FM200 (per lb) GLCC | 46 | 23 | 276
|  | 700003 | ABC Dry Chemical Powder (per lb) | 6.3 | 3.15 | 0
|  | 700006 | AFFF 3% Foam Solution (per liter) | 6.3 | 3.15 | 0
|  | 700008 | FE-25 (per lb) DuPont | 44 | 22 | 0
|  | 700011 | FE-36 (per lb) DuPont | 42 | 21 | 0
|  | 700010 | NOVEC 1230 3M | 48 | 24 | 0
8 |  |  | OUTPUT DEVICES
| 1 | 400001 | Pressure Switch (on Valve) | 240 | 120 | 120
|  | 400004 | Pressure Switch (on EOL or ILA) | 240 | 120 | 0
9 |  |  | INDICATING DEVICES
| 1 | 400011 | FM200 Pressure Gauge(150 psi) | 54 | 27 | 27
|  | 400013 | Dry Chemical Pressure Gauge (195psi) | 54 | 27 | 0
|  | 400015 | AFFF Foam Pressure Gauge (150psi) | 54 | 27 | 0
|  | 400027 | Generic Pressure Gauge (150psi) | 54 | 27 | 0
|  | 600090 | Battery Operated Alarm Horn (9vdc) | 372 | 186 | 0
10 |  |  | CLIPS & GROMMETS
| 2 | 200171 | Tube Mounting Clips (pkg 12) | 16 | 8 | 16
| 2 | 200181 | Magnet Mounts (pkg 12)(req. clips) | 46 | 23 | 46
| 1 | 200151 | Plastic Grommets (Pkg 2 ) | 21 | 10.5 | 10.5
11 |  |  | NOZZLES for CLEAN AGENTS
|  | 500015 | 5/16" CA "X" Pattern | 44 | 22 | 0
|  | 500018 | 1/2" CA w/ 1/2" NPT Adapter | 100 | 50 | 0
|  | 500019 | 1/2" CA w/ 1/2" Compression Adapter | 100 | 50 | 0
| 1 | 500020 | 1/2" CA w/ 1/2" Compression Bulkhd | 110 | 55 | 55
12 |  |  | NOZZLES for DRY CHEMICAL
|  | 500015 | 5/16" DC "X" Pattern | 44 | 22 | 0
|  | 500018 | 1/2" DC w/ 1/2" NPT Adapter | 100 | 50 | 0
|  | 500019 | 1/2" DC w/ 1/2" Compression Adapter | 100 | 50 | 0
|  | 500020 | 1/2" DC w/ 1/2" Compression Bulkhd | 110 | 55 | 0
|  | 500023 | Class D Nozzle w/ Compression Adapter | 146 | 73 | 0
13 |  |  | NOZZLES for AFFF FOAM
|  |  | Contact Factory @ (866) 607-1218 |  | 0 | 0
14 |  |  | HIGH PRESSURE DISCHARGE HOSES
|  | 201802 | 2' Hose w/ (2) 1/2" 90 Swivel | 208 | 104 | 0
|  | 201804 | 4' Hose w/ (2) 1/2" 90 Swivel | 232 | 116 | 0
|  | 201806 | 6' Hose w/ (2) 1/2" 90 Swivel | 246 | 123 | 0
|  | 201808 | 8' Hose w/ (2) 1/2" 90 Swivel | 258 | 129 | 0
|  | 201810 | 10' Hose w/ (2) 1/2" 90 Swivel | 270 | 135 | 0
|  |  | FIRETRACE INDIRECT Fire Suppression Systems |  |  | 1540
Delivery: 2 - 3 Weeks ARO
Terms: Net 30 / FOB Scottsdale, AZ 85260
Taxes & Shipping Added Accordingly
Installation & Installation Materials NOT Included
Kevin Hoover Southeastern Regional Manager

## FM200 6LB
Firetrace International Order Form
|  |  | ILP |  |  | 2026-07-29
[5 empty] | Discount %: | 50
Bill to: |  |  |  | Ship to:
Company |  |  |  | Company
Address |  |  |  | Address
City/State/Zip |  |  |  | City/St/Zip
Attn: |  |  |  | Attn:
Phone
Application: | [5 empty] | 2006 Pricing
Item | Qty | Part # | Description | Unit $ | Disc. Unit $ | Total $
1 |  |  | CLEAN AGENT ASSEMBLIES
|  | 930101 | Xtra-Small ILP Assembly (1 lb) non-UL/FM | 900 | 450 | 0
|  | 940301 | Small ILP Assembly (3 lb) | 1052 | 526 | 0
| 1 | 940601 | Medium ILP Assembly (6 lb) | 1074 | 537 | 537
|  | 941201 | Large ILP Assembly (12 lb) | 1108 | 554 | 0
2 |  |  | DRY CHEMICAL ASSEMBLIES
|  | 940102 | Xtra-Small ILP Assembly (.83 lb) non-UL/FM | 1030 | 515 | 0
|  | 940202 | Small ILP Assembly (2.5 lb) | 1052 | 526 | 0
|  | 940502 | Medium ILP Assembly (5 lb) | 1074 | 537 | 0
|  | 941002 | Large ILP Assembly (10 lb) | 1108 | 554 | 0
|  | 942002 | Xtra-Large ILP Assembly (20 lb) | 1250 | 625 | 0
3 |  |  | AFFF FOAM ASSEMBLIES
|  | 936603 | 6 Liter AFFF Foam Assembly (non FM) | 1140 | 570 | 0
|  | 939903 | 9 Liter AFFF Foam Assembly (non FM) | 1162 | 581 | 0
4 |  |  | INITIATING DEVICES
| 30 | 200005 | Firetrace Tubing (Ft.) | 10.5 | 5.25 | 157.5
|  | 400312 | 12 vdc Electric Solenoid Valve | 294 | 147 | 0
|  | 400324 | 24 vdc Electric Solenoid Valve | 294 | 147 | 0
|  | 600066 | Manual Release | 350 | 175 | 0
5 |  |  | HP Slip-On CONNECTORS
|  | 200157 | HP Line "T" Branch Connector | 146 | 73 | 0
|  | 200158 | HP Straight Connector | 110 | 55 | 0
|  | 200159 | HP 90 Adapter Connector | 100 | 50 | 0
|  | 200177 | HP "T" Adapter Connector | 140 | 70 | 0
|  | 200178 | HP 90 Connector | 110 | 55 | 0
| 2 | 200179 | HP Straight Line Adapter Connector | 96 | 48 | 96
6 |  |  | ADAPTERS
| 1 | 200168 | End-of-Line Adapter | 154 | 77 | 77
|  | 200169 | In-Line Adapter | 220 | 110 | 0
7 |  |  | SUPPRESSION AGENTS
| 6 | 700001 | FM200 (per lb) GLCC | 46 | 23 | 138
|  | 700003 | ABC Dry Chemical Powder (per lb) | 6.3 | 3.15 | 0
|  | 700006 | AFFF 3% Foam Solution (per liter) | 6.3 | 3.15 | 0
|  | 700008 | FE-25 (per lb) DuPont | 44 | 22 | 0
|  | 700011 | FE-36 (per lb) DuPont | 42 | 21 | 0
|  | 700010 | NOVEC 1230 3M | 48 | 24 | 0
8 |  |  | OUTPUT DEVICES
| 1 | 400001 | Pressure Switch (on Valve) | 240 | 120 | 120
|  | 400004 | Pressure Switch (on EOL or ILA) | 240 | 120 | 0
9 |  |  | INDICATING DEVICES
| 1 | 400011 | FM200 Pressure Gauge(150 psi) | 54 | 27 | 27
|  | 400013 | Dry Chemical Pressure Gauge (195psi) | 54 | 27 | 0
|  | 400015 | AFFF Foam Pressure Gauge (150psi) | 54 | 27 | 0
|  | 400027 | Generic Pressure Gauge (150psi) | 54 | 27 | 0
|  | 600090 | Battery Operated Alarm Horn (9vdc) | 372 | 186 | 0
10 |  |  | CLIPS & GROMMETS
| 1 | 200171 | Tube Mounting Clips (pkg 12) | 16 | 8 | 8
| 1 | 200181 | Magnet Mounts (pkg 12)(req. clips) | 46 | 23 | 23
| 1 | 200151 | Plastic Grommets (Pkg 2 ) | 21 | 10.5 | 10.5
11 |  |  | NOZZLES for CLEAN AGENTS
|  | 500015 | 5/16" CA "X" Pattern | 44 | 22 | 0
|  | 500018 | 1/2" CA w/ 1/2" NPT Adapter | 100 | 50 | 0
|  | 500019 | 1/2" CA w/ 1/2" Compression Adapter | 100 | 50 | 0
| 1 | 500020 | 1/2" CA w/ 1/2" Compression Bulkhd | 110 | 55 | 55
12 |  |  | NOZZLES for DRY CHEMICAL
|  | 500015 | 5/16" DC "X" Pattern | 44 | 22 | 0
|  | 500018 | 1/2" DC w/ 1/2" NPT Adapter | 100 | 50 | 0
|  | 500019 | 1/2" DC w/ 1/2" Compression Adapter | 100 | 50 | 0
|  | 500020 | 1/2" DC w/ 1/2" Compression Bulkhd | 110 | 55 | 0
|  | 500023 | Class D Nozzle w/ Compression Adapter | 146 | 73 | 0
13 |  |  | NOZZLES for AFFF FOAM
|  |  | Contact Factory @ (866) 607-1218 |  | 0 | 0
14 |  |  | HIGH PRESSURE DISCHARGE HOSES
|  | 201802 | 2' Hose w/ (2) 1/2" 90 Swivel | 208 | 104 | 0
|  | 201804 | 4' Hose w/ (2) 1/2" 90 Swivel | 232 | 116 | 0
|  | 201806 | 6' Hose w/ (2) 1/2" 90 Swivel | 246 | 123 | 0
|  | 201808 | 8' Hose w/ (2) 1/2" 90 Swivel | 258 | 129 | 0
|  | 201810 | 10' Hose w/ (2) 1/2" 90 Swivel | 270 | 135 | 0
|  |  | FIRETRACE INDIRECT Fire Suppression Systems |  |  | 1249
Delivery: 2 - 3 Weeks ARO
Terms: Net 30 / FOB Scottsdale, AZ 85260
Taxes & Shipping Added Accordingly
Installation & Installation Materials NOT Included
Kevin Hoover Southeastern Regional Manager

## FM200 3LB
Firetrace International Order Form
|  |  | ILP |  |  | 2026-07-29
[5 empty] | Discount %: | 50
Bill to: |  |  |  | Ship to:
Company |  |  |  | Company
Address |  |  |  | Address
City/State/Zip |  |  |  | City/St/Zip
Attn: |  |  |  | Attn:
Phone
Application: | [5 empty] | 2006 Pricing
Item | Qty | Part # | Description | Unit $ | Disc. Unit $ | Total $
1 |  |  | CLEAN AGENT ASSEMBLIES
|  | 930101 | Xtra-Small ILP Assembly (1 lb) non-UL/FM | 900 | 450 | 0
| 1 | 940301 | Small ILP Assembly (3 lb) | 1052 | 526 | 526
|  | 940601 | Medium ILP Assembly (6 lb) | 1074 | 537 | 0
|  | 941201 | Large ILP Assembly (12 lb) | 1108 | 554 | 0
2 |  |  | DRY CHEMICAL ASSEMBLIES
|  | 940102 | Xtra-Small ILP Assembly (.83 lb) non-UL/FM | 1030 | 515 | 0
|  | 940202 | Small ILP Assembly (2.5 lb) | 1052 | 526 | 0
|  | 940502 | Medium ILP Assembly (5 lb) | 1074 | 537 | 0
|  | 941002 | Large ILP Assembly (10 lb) | 1108 | 554 | 0
|  | 942002 | Xtra-Large ILP Assembly (20 lb) | 1250 | 625 | 0
3 |  |  | AFFF FOAM ASSEMBLIES
|  | 936603 | 6 Liter AFFF Foam Assembly (non FM) | 1140 | 570 | 0
|  | 939903 | 9 Liter AFFF Foam Assembly (non FM) | 1162 | 581 | 0
4 |  |  | INITIATING DEVICES
| 30 | 200005 | Firetrace Tubing (Ft.) | 10.5 | 5.25 | 157.5
|  | 400312 | 12 vdc Electric Solenoid Valve | 294 | 147 | 0
|  | 400324 | 24 vdc Electric Solenoid Valve | 294 | 147 | 0
|  | 600066 | Manual Release | 350 | 175 | 0
5 |  |  | HP Slip-On CONNECTORS
|  | 200157 | HP Line "T" Branch Connector | 146 | 73 | 0
|  | 200158 | HP Straight Connector | 110 | 55 | 0
|  | 200159 | HP 90 Adapter Connector | 100 | 50 | 0
|  | 200177 | HP "T" Adapter Connector | 140 | 70 | 0
|  | 200178 | HP 90 Connector | 110 | 55 | 0
| 2 | 200179 | HP Straight Line Adapter Connector | 96 | 48 | 96
6 |  |  | ADAPTERS
| 1 | 200168 | End-of-Line Adapter | 154 | 77 | 77
|  | 200169 | In-Line Adapter | 220 | 110 | 0
7 |  |  | SUPPRESSION AGENTS
| 3 | 700001 | FM200 (per lb) GLCC | 46 | 23 | 69
|  | 700003 | ABC Dry Chemical Powder (per lb) | 6.3 | 3.15 | 0
|  | 700006 | AFFF 3% Foam Solution (per liter) | 6.3 | 3.15 | 0
|  | 700008 | FE-25 (per lb) DuPont | 44 | 22 | 0
|  | 700011 | FE-36 (per lb) DuPont | 42 | 21 | 0
|  | 700010 | NOVEC 1230 3M | 48 | 24 | 0
8 |  |  | OUTPUT DEVICES
| 1 | 400001 | Pressure Switch (on Valve) | 240 | 120 | 120
|  | 400004 | Pressure Switch (on EOL or ILA) | 240 | 120 | 0
9 |  |  | INDICATING DEVICES
| 1 | 400011 | FM200 Pressure Gauge(150 psi) | 54 | 27 | 27
|  | 400013 | Dry Chemical Pressure Gauge (195psi) | 54 | 27 | 0
|  | 400015 | AFFF Foam Pressure Gauge (150psi) | 54 | 27 | 0
|  | 400027 | Generic Pressure Gauge (150psi) | 54 | 27 | 0
|  | 600090 | Battery Operated Alarm Horn (9vdc) | 372 | 186 | 0
10 |  |  | CLIPS & GROMMETS
| 1 | 200171 | Tube Mounting Clips (pkg 12) | 16 | 8 | 8
| 1 | 200181 | Magnet Mounts (pkg 12)(req. clips) | 46 | 23 | 23
| 1 | 200151 | Plastic Grommets (Pkg 2 ) | 21 | 10.5 | 10.5
11 |  |  | NOZZLES for CLEAN AGENTS
| 1 | 500015 | 5/16" CA "X" Pattern | 44 | 22 | 22
|  | 500018 | 1/2" CA w/ 1/2" NPT Adapter | 100 | 50 | 0
|  | 500019 | 1/2" CA w/ 1/2" Compression Adapter | 100 | 50 | 0
|  | 500020 | 1/2" CA w/ 1/2" Compression Bulkhd | 110 | 55 | 0
12 |  |  | NOZZLES for DRY CHEMICAL
|  | 500015 | 5/16" DC "X" Pattern | 44 | 22 | 0
|  | 500018 | 1/2" DC w/ 1/2" NPT Adapter | 100 | 50 | 0
|  | 500019 | 1/2" DC w/ 1/2" Compression Adapter | 100 | 50 | 0
|  | 500020 | 1/2" DC w/ 1/2" Compression Bulkhd | 110 | 55 | 0
|  | 500023 | Class D Nozzle w/ Compression Adapter | 146 | 73 | 0
13 |  |  | NOZZLES for AFFF FOAM
|  |  | Contact Factory @ (866) 607-1218 |  | 0 | 0
14 |  |  | HIGH PRESSURE DISCHARGE HOSES
|  | 201802 | 2' Hose w/ (2) 1/2" 90 Swivel | 208 | 104 | 0
|  | 201804 | 4' Hose w/ (2) 1/2" 90 Swivel | 232 | 116 | 0
|  | 201806 | 6' Hose w/ (2) 1/2" 90 Swivel | 246 | 123 | 0
|  | 201808 | 8' Hose w/ (2) 1/2" 90 Swivel | 258 | 129 | 0
|  | 201810 | 10' Hose w/ (2) 1/2" 90 Swivel | 270 | 135 | 0
|  |  | FIRETRACE INDIRECT Fire Suppression Systems |  |  | 1136
Delivery: 2 - 3 Weeks ARO
Terms: Net 30 / FOB Scottsdale, AZ 85260
Taxes & Shipping Added Accordingly
Installation & Installation Materials NOT Included
Kevin Hoover Southeastern Regional Manager