# Jacob Tubing Inventory At Kennametal – Weldon, NC

300mm Parts

1 - 1000 Tube

1 – 1000mm Slip Tube

1 – “Y” Branch

2 – 45º Segments

2 – Cones - 200-300

1 – Cone – 250-300

2 – U-Gaskets

1 – O-ring

2 – New style Pull Rings

4 – Connecting Flanges

250mm Parts

5 – 2000mm Tubes

2 – 1000mm Tubes

2 – 1000mm Slip Tubes

1 – 45º Elbow

32 – U-Gaskets

1 – O-ring

31 – New style Pull Rings

7 – Connecting Flanges

200mm Parts

7 – 2000mm Tubes

3 – 500mm Tubes

8 – 500mm Slip Tubes

4 – 200mm Slip Tubes

2 – 90º Elbow

23 – U-Gaskets

6 – O-ring

28 – New style Pull Rings

1 – Connecting Flange

16 – Hanger Bands

150mm Parts

8 – 500mm Tubes

8 – 500mm Slip Tubes

4 – 90º Elbow

2 – 45º Elbows

18 – U-Gaskets

8 – O-ring

26 – New style Pull Rings

1 – Connecting Flange

1 – Blast Gate

100mm Parts

1 – 500mm Tube

1 – 50mm Tube

1 – 500mm Slip Tube

1 – 45º Segment

7 – U-Gaskets

4 – O-ring