ESSCO

P.O. Box 21605

1800 Sullivan Street

Greensboro, N.C. 27420

Tel:	(336) 275-5321

Fax:	(336) 275-5325

E-mail: sales@esscoinc.com

141 Dye Plant Road

Martinsville, V.A. 24112

Tel:	(276) 632-2086

Fax:	(276) 632-7405

ELECTRIC SERVICE & SALES

Complete System Integration Services

Expert In-House and Field Repair Service Available

Engineering Support on all Products Sold

Industrial Air Quality

To:

Youngsville NC

Phone:	     	Fax:

Page

E-mail:	bvenezia@iaqsales.com	Q090590	1

ELECTRIC SERVICE and SALES

BY

TITLE

DATE

ATTENTION

TERMS

F.O.B.

Quote Number

QTY.

DESCRIPTION

UNIT PRICE

TOTAL

FREIGHT

10/21/09	Bob Venezia	Net 30 Days

1	ESSCO 75hp 460v Nema 12 fvnr combination starter	1,548.00	1,548.00

input circuit breaker door interlocked

ABB IEC starter

500va 120v control power transformer w/ primary & secondary

fusing

customer terminal strip

Start pushbutton

Stop pushbutton

assembled & tested

Delivery 2-3 weeks

cc: Mike Fitch

We are pleased to offer this quote for your consideration, and look forward to your acceptance of our proposal.

Stan Shelton

COMPLETE SYSTEM INTEGRATION SERVICES

EXPERT IN-HOUSE AND FIELD REPAIR SERVICE AVAILABLE

ENGINEERING SUPPORT ON ALL PRODUCTS SOLD