Avani Environmental

95 Cypress Drive      Youngsville, NC  27596

P# 919-570-2862

Packing List SO 18563

Ship to:	Kemco Aerospace

c/o McClain Tool & Technology

106 Weldon Parkway

St. Louis, MO 63043

Attn: Ray Dorlac 314-432-3200

| ø | Description JACOB TUBE | Qty** Needed | Qty Picked | Qty Shipped | Back-ordered |
| --- | --- | --- | --- | --- | --- |
| 6” | 79” Pipe | 2 |  |  |  |
| 6” | 40” Pipe | 2 |  |  |  |
| 8” | Clamp | 1 |  |  |  |
| 6” | Gasket | 11 |  |  |  |
| 8” | Gasket | 1 |  |  |  |
| 6” | Ring Seal | 3 |  |  |  |
| 6” | 90 deg Elbow | 2 |  |  |  |
| 6” | Connecting Flange | 1 |  |  |  |
| 6”-8” | Cone | 1 |  |  |  |
| 6” | Fire Damper (Jacob) | 1 |  |  |  |
| 8” | Plenum Box (Jacob Flange) | 1 |  |  |  |
|  | P-trap | 1 |  |  |  |

Pulled By: ______________		Shipped On:

Packaged By: ____________		Shipped Via: Best Way

Tracking:

Bill To: McClain 18563