System A

224mm-2000mm tube=7pcs

 1000mm slip t=2

 30 degree elbow=1

 224-150-150 Lateral Branch

150mm-2000mm tube=7

 1000mm slip t=12

 1000mm tube=11

 60 degree elbow=1

 Throttle valves=10

 Clamps=20

300mm-60 degree elbow=1

 90 degree elbow=1

350mm-2000mm tube=1

500mm- 1000mm slip tube=1

System B

150mm-throttle valves=8

 Clamps=10

350mm-90 degree elbow

450mm-clamps=10

Sysytem C

150mm-Throttle Valves=5

300mm-90 degree elbow=1

 1000mm tube=2

 1000mm slip tube=1

350mm-2000mm tube=2

System D

150mm-2000mm tube=2

 1000mm slip tube=2

 Clamps=10

 Throttle Valves=8

450mm-2000mm tube=2

 1000mm slip tube=2

 Clamps=20