System A

224mm-2000mm tube=7pcs

1000mm slip t=2

30 degree elbow=1

224-150-150 Lateral Branch

150mm-2000mm tube=7

1000mm slip t=12

1000mm tube=11

60 degree elbow=1

Throttle valves=10

Clamps=20

300mm-60 degree elbow=1

90 degree elbow=1

350mm-2000mm tube=1

500mm- 1000mm slip tube=1

System B

150mm-throttle valves=8

Clamps=10

350mm-90 degree elbow

450mm-clamps=10

Sysytem C

150mm-Throttle Valves=5

300mm-90 degree elbow=1

1000mm tube=2

1000mm slip tube=1

350mm-2000mm tube=2

System D

150mm-2000mm tube=2

1000mm slip tube=2

Clamps=10

Throttle Valves=8

450mm-2000mm tube=2

1000mm slip tube=2

Clamps=20