July 10, 2007

Oracle Packaging

Winston-Salem, NC

David Yount

Ref:  Ductwork Quote for Absolent installation

Quote number:  0705043-1

Dear David:

IAQ is pleased to quote you the following ductwork and installation for the foil trim system with the Absolent collector.

Flanged ductwork  $75,660.00

All ductwork is galvanized and has angle flanges

14” and smaller is 12 gauge

18” and larger is 10 gauge

Includes hangers, hardware, stands for inside and on the roof

Per the drawings by Penta

Note: Actuators for ductwork system provided by others

Labor for installation  $57,500.00

To install the Absolent ODR 18000 foil trim system

To install the ductwork per the drawings by Penta

Note: Cranes and Lifts are not included in the quote.

They will be needed for the project.

Either Oracle can rent them or IAQ can and add to the final invoice

Shipment: 4 weeks ARO

Taxes and Freight are not included

Terms:  50% deposit

30% upon delivery

20% net 30 days upon installation

Quote valid for 30 days

Sincerely,

Bob Venezia