Date: 6/16/07		  	     PO#: 46093 	            IAQ Crew:  Bill Boisvert

Customer:	Royal Master Grinders			Installation:

143 Bauer Drive				Service:

Oakland, NJ 07436				Warranty:

Repair:

# Scope Of Project

Mario,

I hope that my drawing is of some help.  You can use number 14 or ¼” zip screws to attach the angle rings.  I use ¼” bolts but that is just my preference.  When clamping the duct we use a spray adhesive on the duct before we put on the seal.  The seal goes on the surface closest to the unit.  You can cut the duct to any length that you need.  After you cut the pipe, file the cut end so that it will slip into the nipple (11” duct piece with o-ring). You can turn the elbows any way that works for your installation.  After you get the duct like you want place pins the all the clamps.

I will be in Mexico Monday thru Wednesday so I will be out of touch.  I may or may not have Internet access. So if you need any additional info you can call Bob or leave me a message and I will get back to you on Thursday.

Bill Boisvert, IAQ Field Supervisor

919-562-7181 X219 (Office)

919-971-3910 (Cell)

CUSTOMER REMARKS:

CUSTOMER SIGNATURE:						DATE:

TITLE OR DEPARTMENT: