Customer:	 Stihl Inc.

536 Viking Dr.

Virginia Beach, VA 23450

Contact:	Jeffrey R. Keipp

Phone: 	 (757) 486-9371

Email:		 jeff.keipp@stihl.us

Date:  6/29/2010

Project #:

Sales Order #:

Serial #:

Model #: ODF-2000S

OE Crew: Bill Boisvert & Dan Kuster

SCOPE OF PROJECT:        (Installation) – Service – Warranty – Demo – Delivery - Engineering

- Removed Flex Duct

- Removed all duct pieces from Absolent and machine.

- Cleaned all joints and reinstalled Y-branch on Absolent, and fire dampers and butterfly dampers to machine drops, sealing all clamps.

- Installed new ducting from Y-branch to both drops.

- Straitened Absolent to within 1/8” of machine.

- Replaced drain line with PVC P-trap and ¾” flex

- Cleaned area.

Please review, print, and make any comments, sign and fax to Oskar office.

Thanks,

Bill Boisvert - Cell (919) 971-3910

Project Manager – Oskar Environmental

E-mail bill.boisvert@oskarsales.com

CUST0MER REMARKS: _____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Customer Signature: _________________________________________Date:___________________

Title or Department: ________________________________________________________________