Avani Environmental

95 Cypress Drive      Youngsville, NC  27596

P# 919-570-2862

Packing List SO18613

Ship to:	Coldwater Leasing Company

266 Industrial Drive

Hillsdale, MI 49242

Attn: Greg Scott

PO#05162012

| Dia. | Description | Qty** Needed | Qty Picked | Qty Shipped | Back-ordered |
| --- | --- | --- | --- | --- | --- |
| 8” | 8” dia. Plenum Box with rolled edge | 2 |  |  |  |
| NA | 32x17 hood | 1 |  |  |  |
| N/A | PVC P-Trap kits | 2 |  |  |  |
| 8” | KB Clamps | 10 |  |  |  |
| 5” | 45 Deg elbow | 3 |  |  |  |
| 5” | Pipe (5’ long) | 25 |  |  |  |
| 6” | Pipe (5’ long) | 4 |  |  |  |
| 6” | 90 Deg Elbow | 1 |  |  |  |
| 6” | 45 Deg Elbow | 1 |  |  |  |
| 5” | 45 Deg Elbow | 1 |  |  |  |
| 5” | Hose Clamp | 2 |  |  |  |
| 5” | Hose Adaptor | 1 |  |  |  |
| 5” | KB Clamps | 14 |  |  |  |
| 5” | Flex duct | 3 Feet |  |  |  |

Pulled By: ______________		Shipped On:

Packaged By: ____________		Shipped Via: Best Way

Tracking:

Bill To: SO18613 Coldwater