Customer:	 ThyssenKrupp

Danville, IL

Contact:	 Ryan Garrison

Phone: 	 217-304-1558

Email:		 ryan.garrison@thyssenkrupp.com

Date:  7/19/12

Project #: Inspection

Sales Order #: TBD

Serial #:

Model #:

OE Crew: 	 Bill Boisvert

SCOPE OF PROJECT:        Installation – (Service) –Warranty – Demo – Delivery - Engineering

- ODR-3000

  - Unit reported to been involved in fire.

  - Inspected the unit – unit is working within normal parameters.

  - Disassembled duct work and inspected – undamaged by fire.

  - Assisted in the repositioning of new unit.

  - Inspected new A.smoke40 – not yet operational.

  - Reassembled ductwork to new unit.

Notes:

It appears that the fire was contained within the grinder and no damage occurred to the air filtration system.

Please feel free to call me at any time if you have any questions or concerns with the units.  If you need additional training at a later date just give me a call.

Thanks,

Bill Boisvert

Bill Boisvert - Cell (919) 971-3910

Project Manager – Avani Environmental Intl.

E-mail bboisvert@avanienvironmental.com

CUST0MER REMARKS: _____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Customer Signature: _________________________________________Date:___________________

Title or Department: ________________________________________________________________