Customer:	Koyo Bearing   					  Date:  4/14/10

Project #:

Contact: Lennie Chappell		   		           Sales Order #:

Phone: 864-242-5151			                                    Serial #:

Email:	Lennie.Chappel@cbre.com	                                   Model #:

OE Crew: Bill Boisvert / Daniel Taylor

SCOPE OF PROJECT:         Installation – Service – ( Warranty) – Demo – Delivery - Engineering

- Planet Pin Line

  - Reworked drops to all four test machines.

  - Took flow readings and filter dp’s

- Dynamic Thrust Line

  - Straighten header at Absolent

  - Took flow readings and filter dp’s

- High Speed Planetary #3

  - Took flow readings and filter dp’s

- Radial Machines 1-12

  - Took flow readings and filter dp’s

- Radial Machines 13-24

  - Took flow readings and filter dp’s

- Radial Machines 25-36

  - Took flow readings and filter dp’s

Please review, print, make any comments, sign and fax to Oskar office.

Thanks,

Bill Boisvert {Cell (919) 971-3910}

Project Manager – Oskar Environmental

E-mail bill.boisvert@oskarsales.com

CUST0MER REMARKS: _____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Customer Signature: _________________________________________Date:___________________

Title or Department: ________________________________________________________________