Avani Environmental

95 Cypress Drive      Youngsville, NC  27596

P# 919-570-2862   Bob Venezia

Packing List

Ship to:

Petron Automation

Watertown, CT

Jacob Tubing

Qty

1pc    Branch 12”/6”/10” at 30 deg

1pc    Branch 10”/6”/8” at 30 deg

1pc    Branch  8”/6”/6” at 30 deg

1pc    12” Plenum Box with JT flange

1pc    12” 90 deg elbow

1pc    12” 45 deg elbow

4pcs   12” dia Tube 2000mm long

2pcs   12” dia Tube 1000mm long

2pcs   12” dia Slip Tube 1000mm long

11pcs  12” dia clamps

11pcs  12” dia U-Gaskets

2pcs    12” dia O-Ring

2pcs    10” dia Tube 2000mm long

1pc    10” dia Tube 1000mm long

1pc    10” dia Slip Tube 1000mm long

8pcs   10” dia clamps

8pcs   10” dia U-Gaskets

2pcs    10” dia O-Ring

2pcs    8” dia Tube 2000mm long

1pc    8” dia Tube 1000mm long

1pc     8” dia Slip Tube 1000mm long

8pcs   8” dia clamps

8pcs   8” dia U-Gaskets

2pcs     8” dia O-Ring

4pcs     6” dia Connecting Flange

4pcs     6” dia Throttle Valve

12pcs   6” dia Tube 2000mm long

5pcs     6” dia Tube 1000mm long

9pcs     6” dia Slip Tube 1000mm long

55pcs   6” dia clamps

55pcs   6” dia U-Gaskets

11pcs   6” dia O-Ring

5pcs    6” dia 90 deg elbow

3pcs     6” dia 60 deg elbow

4pcs     6” dia Fire Dampers