Quotation #PM 080 206                                                  Date: 07/17/2008

### Customer Name: 		           Distributor: Industrial Air quality

Ken Haga  SE Territory Manager

OPTION A : TWIN 10HP /4600CFM / 5 NBM Modules /Conf for 10 x 55 gallon drum

CUSTOMER SPECIFICATIONS

Capacity: Twin Blower 10HP /4600 CFM / 9 SP

Dust type: Mix

Voltage/ phase/ hertz: 460/3/60

# DUST COLLECTOR TYPE: NBM

| DESCRIPTION | QTY | UNIT-PRICE | TOTAL |
| --- | --- | --- | --- |
| - Hummer Blower module 10HP /4600CFM | 2 | 4,300.00$ | 8,600.00$ |
| - NBM filter module | 5 | 2,840.00$ | 14,200.00$ |
| - Control Panel & Shaker mechanism Volts / Phase / Hz Includes: blower motor starter(s), Timer & Rotary valve | 1 | 4,400.00$ | 4,400.00$ |
|  | ##### Sub-Total: |  | 27,200.00$ |

| Sub-Total: OPTION A / Steel drum for disposal | 27,200.00$ |
| --- | --- |
| Freight Charges: | 1,582.00$ |
| Freight insurance: (1% of shipment value. Optional, it changes shipment to FOB:Destination) | 272.00$ |
| TOTAL: | 29,054.00$ |

GENERAL TECHNICAL SPECIFICATIONS

- Blower & Filter unit Dimensions: 72’’(D) x 204’’  (L) x 144’’ (H)

- Blower twin blower 10/ HP –4600CFM at 10SP

- SQ.FT cloth surface:  825

- Air to cloth ratio:	115: 1

OPTION B : TWIN 10HP /4600CFM / 5 NBM Modules /Conf for tilt truck

CUSTOMER SPECIFICATIONS

Capacity: Twin Blower 10HP /4600 CFM / 9 SP

Dust type: Mix

Voltage/ phase/ hertz: 460/3/60

# DUST COLLECTOR TYPE: NBM

| DESCRIPTION | QTY | UNIT-PRICE | TOTAL |
| --- | --- | --- | --- |
| - Hummer Blower module 10HP /4600CFM | 2 | 4,300.00$ | 8,600.00$ |
| - NBM filter module | 5 | 2,840.00$ | 14,200.00$ |
| - Control Panel & Shaker mechanism Volts / Phase / Hz Includes: blower motor starter(s), Timer & Rotary valve | 1 | 4,400.00$ | 4,400.00$ |
| - Tit Truck & adaptor | 5 | 1,145.00$ | 5,725.00$ |
|  | ##### Sub-Total: |  | 32,925.00$ |

| Sub-Total: OPTION B/ Tit Truck | 32,925.00$ |
| --- | --- |
| Freight Charges: | 1,582.00$ |
| Freight insurance: (1% of shipment value. Optional, it changes shipment to FOB:Destination) | 330.00$ |
| TOTAL: | 34,837.00$ |

GENERAL TECHNICAL SPECIFICATIONS

- Blower & Filter unit Dimensions: 72’’(D) x 204’’  (L) x 144’’ (H)

- Blower twin blower 10/ HP –4600CFM at 10SP

- SQ.FT cloth surface:  825

- Air to cloth ratio:	11: 1