Avani Environmental

95 Cypress Drive      Youngsville, NC  27596

P# 919-570-2862

Packing List SO 19535

Ship to:	Performance Contractors

9901 Pecue Lane

Baton Rouge, LA 70810

Attn: Rusty Pierce

| ø | Description | Qty** Needed | Qty Picked | Qty Shipped | Back-ordered |
| --- | --- | --- | --- | --- | --- |
|  | Sliding Suction Rails | 9 |  |  |  |
|  | Ceiling Mounting bracket | 18 |  |  |  |
|  | Trolley for sliding rail | 6 |  |  |  |
|  | Blank Cap for sliding rail | 3 |  |  |  |
|  | End cap for sliding rail | 3 |  |  |  |
|  | Adapter 160-200mm | 9 |  |  |  |
|  | Backdraft/Overhead Hood | 3 |  |  |  |
|  | Hardware for Backdraft/Overhead Hood | 1 |  |  |  |
|  | Gripples pack | 2 |  |  |  |
|  | Silicone | 8 |  |  |  |
|  | Zip Screws | 400 |  |  |  |

Pulled By: ______________		Shipped On:

Packaged By: ____________		Ship Via: Best Way

Tracking:

Bill to: Performance 19535