## Costs
|  |  | Avani | Profit | Quote
Item No. | Description | Vendor | Cost | margin | Price
1 | ODF 1000S painted Gray | Absolent | 3278 | 35% | 5043.0769
2 | Ductwork package | Jacob Tubing | 290 | 35% | 446.1538
3 | Electrical control panel w/cord | Engineered Electric (CA) | 913 | 35% | 1404.6154
4 | Outlet hood w/slot for carbon tray | Triangle Metalworks | 370 | 35% | 569.2308
5 | Painting of ductwork, control panel, | Capitol Electro Koters | 777.5 | 35% | 1196.1538
Absolent, and outlet hood AGFA Color
6 | Carbon tray with CPZ blend media | RSE | 65.8 | 35% | 101.2308
7 | Dwyer Gauge | Dwyer | 54.36 | 35% | 83.6308
8 | Crate | Welsh Paper | 169.45 | 35% | 260.6923
9 | Latches | Fastenal | 8.46 | 35% | 13.0154
10 | Drain Kit w/ 3/4" Ball valve | Lowes | 20 | 35% | 30.7692
11 | Gasket for hood door | Lowes | 5 | 35% | 7.6923
12 | Gauge bracket | Triangle Metalworks | 5 | 35% | 7.6923
|  | Total Cost for Materials: | 5956.57 | 35% | 9163.9538
Work done at Avani |  | Time | Parts
7 | Cut legs to 6" long and bolt onto ODF | 25 minutes | 3 | 35% | 4.6154
8 | Attach 6" Angle flange adaptor and seal | 15 minutes | 3 | 35% | 4.6154
Install on Left side of ODF
9 | Provide and install drain valve | 10 minutes | 10 | 35% | 15.3846
1.25" Street elbow to .75" with ball valve
There is no P-Trap. Open valve as needed
10 | Label changes: Remove all Absolent | 15 minutes | N/A
stickers and label from filters. Attach new
Gandi labels (labels provided by Gandi)
11 | Attach Electrical control panel to Right | 10 minutes | 15 | 35% | 23.0769
side of ODF and wire to motor
12 | Attach Outlet Hood and seal | 10 minutes | 5 | 35% | 7.6923
13 | Install Carbon tray into outlet hood | N/A | N/A
14 | Install NPT Brass fitting on Elbow | 15 minutes | 103 | 35% | 158.4615
Install Pressure Gauge and connect tubing
15 | Crate Absolent and ductwork | 35 minutes |  | 35% | 0
Crate size 7'6" x 38" x 31"High
|  | Total Minutes | Total Cost |  | Total Quote
|  | 2 hours 15 minutes | 139 |  | 213.8462
at $70/hr = $157.50
(quote price)
Additional Costs of Incoming Freight to Avani |  | Avani Costs
Absolent
Ductwork from Jacob Tubing
Engineered Electric in Canada
Carbon Tray from Baker Corp
|  | Cost |  |  | Quote
|  | 5956.57 |  | Materials: | 9163.9538
|  | 139 |  | Labor: | 213.8462
|  |  |  | Incoming Freight: | 0
|  | Total Cost of Project: |  |  | 9377.8