# SDC-AT-3-12 specs

12 Horizontal Cartridge Collection System

- 12 Horizontal cartridge down-flow dust collector

- Holds 12 filter cartridges totaling 3,048 sq ft of filter media

- Nano fiber Merv 15 filters

- Pulse control timer board with built in digital pressure gauge

- Goyen solenoid diaphragm valves

- Drum lid

- Quick lock easy access door

- Heavy duty 7 and 10 gauge steel construction

- 5 year warranty

- Made in USA

- TCBI 15 HP motor with direct drive top mount opposed blade fan.

- 5,000CFM at 12”

- Dam 30 Damper for TCBI 15.

- In line spark trap with access door.

- Drum latch for 55 gallon drum (drum not included).

- 15HP all in one starter/disconnector/pulse timer board with digital pressure gauge