Request for Quote - Date:

Quartarious L. Ford

Jacob Tubing, LP

3948 Willow Lake Blvd.

Avani Sales Order #:

Barnes Job #:

Memphis, TN 38118

Shon,

Please quote price and availability for the following parts.

| Barnes System G2500 Viavent Mist Collection Duct Parts |  |  |
| --- | --- | --- |
| Jacob Part # | Part Name | Quantity |
| 12351020 | Tube, 350mm dia., 1000mm long, 2mm thick | 2 |
| 12221010 | Tube, 244mm dia., 2000mm long, 2mm thick | 1 |
| 12221020 | Tube, 244mm dia., 1000mm long, 2mm thick | 4 |
| 12221030 | Tube, 244mm dia., 500mm long, 2mm thick | 1 |
| 12151020 | Tube, 150mm dia., 1000mm long, 2mm thick | 1 |
| 12121030 | Tube, 120mm dia., 500mm long, 2mm thick | 3 |
| 12121040 | Tube, 120mm dia., 200mm long, 2mm thick | 1 |
| 11351110 | Slip Tube, 350mm dia., 1000mm long, 1.5mm thick | 2 |
| 11221110 | Slip Tube, 244mm dia., 1000mm long, 1.5mm thick | 4 |
| 11151110 | Slip Tube, 150mm dia., 1000mm long, 1.5mm thick | 1 |
| 11121110 | Slip Tube, 120mm dia., 1000mm long, 1.5mm thick | 1 |
| 11121120 | Slip Tube, 120mm dia., 500mm long, 1.5mm thick | 1 |
| 11121130 | Slip Tube, 120mm dia., 200mm long, 1.5mm thick | 1 |
| 11351339 | Elbow 90deg., 350mm dia., R=1D, 1.5mm thick | 1 |
| 11221339 | Elbow 90deg., 244mm dia., R=1D, 1.5mm thick | 2 |
| 11121339 | Elbow 90deg., 120mm dia., R=1D, 1.5mm thick | 2 |
| 12151346 | Elbow 60deg., 150mm dia., R=2D, 2mm thick | 1 |
| 11221330 | Segment 45deg., 224mm dia., R-1D, 1mm thick | 1 |
| 12121330 | Segment 45deg., 120mm dia., R-1D, 2mm thick | 1 |
| 12251310 | Segment 15deg., 250mm dia., R-1D, 2mm thick | 1 |
| 11351255 | Conical fork 30deg., 350/250/250mm dia., 1.5mm thick | 1 |
| 11221255 | Conical fork 30deg., 244/150/150mm dia., 1.5mm thick | 1 |
| 11001476 | Cone, 224/250mm dia., 1.5mm thick | 2 |
| 11221499 | Hose Connection, 224mm dia., 1.0mm Thick | 1 |
| 11151499 | Hose Connection, 150mm dia., 1.0mm Thick | 1 |
| 102201659 | Flex Hose, 224mm dia., Polyester polyurethane | 3ft. |
| 101501659 | Flex Hose, 150mm dia., Polyester polyurethane | 3ft. |
| 10222162 | Hose clamp, 224mm, Galvanized | 2 |
| 10152162 | Hose clamp, 150mm, Galvanized | 2 |
| 12352903 | Quick Connect Pull Ring, 350mm | 7 |
| 12252903 | Quick Connect Pull Ring, 250mm | 3 |
| 12222903 | Quick Connect Pull Ring, 224mm | 17 |
| 12152903 | Quick Connect Pull Ring, 150mm | 6 |
| 12122903 | Quick Connect Pull Ring, 120mm | 12 |
| 103569517 | U-Shaped Gasket, 350mm | 7 |
| 102569517 | U-Shaped Gasket, 250mm | 4 |
| 102269517 | U-Shaped Gasket, 224mm | 17 |
| 101569517 | U-Shaped Gasket, 150mm | 6 |
| 101269517 | U-Shaped Gasket, 120mm | 12 |
| 103561557 | Ring seal for slip tube, 1.5mm, 350mm dia. | 3 |
| 102261557 | Ring seal for slip tube, 1.5mm, 224mm dia. | 5 |
| 101561557 | Ring seal for slip tube, 1.5mm, 150mm dia. | 1 |
| 101261557 | Ring seal for slip tube, 1.5mm, 120mm dia. | 3 |

Notes:

- 2mm material.

- Painted stainless can be substituted for coated.

- Longer slip tubes can be substituted for shorter ones.

Bill Boisvert

Bill Boisvert, Project Specialist

Avani Environmental Intl., Inc.®

95 Cypress Drive, Youngsville, North Carolina 27596

Cell: 919-971-3910 - Office: 919-488-5195

E-mail: bboisvert@avanienvironmental.com