Request for Quote - Date:

Quartarious L. Ford

Jacob Tubing, LP

Avani Sales Order #:

Barnes Job #:

3948 Willow Lake Blvd.

Memphis, TN 38118

Shon,

Please quote price and availability for the following parts.

| Barnes System V150 Mist Collection Duct Parts |  |  |
| --- | --- | --- |
| Jacob Part # | Part Name | Quantity |
| 12251010 | Tube, 250mm dia., 2000mm long, 2mm thick | 1 |
| 12251020 | Tube, 250mm dia., 1000mm long, 2mm thick | 3 |
| 12251030 | Tube, 250mm dia., 500mm long, 2mm thick | 1 |
| 11251110 | Slip Tube, 250mm dia., 1000mm long. 1.5mm thick | 1 |
| 11251120 | Slip Tube, 250mm dia., 500mm long. 1.5mm thick | 2 |
| 11251130 | Slip Tube, 250mm dia., 200mm long. 1.5mm thick | 1 |
| 11251339 | Elbow 90deg., 250mm dia., R=1D, 1.5mm thick | 3 |
| 102501659 | Clear Flex Hose, 250mm | 16" |
| 11251499 | Hose Connection, 250mm dia., 1.0mm thick | 1 |
| 10252162 | Hose Clamp, 255mm, galvanized | 2 |
| 12252903 | Quick Connect Ring, 250mm | 12 |
| 10256155 | Ring Seal for slip tube, 250mm, 1.5mm | 6 |
| 10256951 | U-shaped gasket, 250mm dia., NBR | 12 |

Notes:

- 2mm material.

- Painted stainless can be substituted for coated.

- Longer slip tubes can be substituted for shorter ones.

Bill Boisvert

Bill Boisvert, Project Specialist

Avani Environmental Intl., Inc.®

95 Cypress Drive, Youngsville, North Carolina 27596

Cell: 919-971-3910 - Office: 919-488-5195

E-mail: bboisvert@avanienvironmental.com