Avani Environmental

95 Cypress Drive      Youngsville, NC  27596

P# 919-570-2862

Ship to:

Local 37 / Boilermakers

Qty

1 pc  Lateral at 45 deg  10”/10”/6”

1 pc  Lateral at 45 deg  10”/8”/6”

1 pc  Lateral at 45 deg  8”/8”/6”

1 pc  Lateral at 45 deg  8”/6”/6”

1 pc  Lateral at 45 deg  6”/6”/6”

6”dia parts

90 deg elbow at 1.0 CLR  7pcs

45 deg elbow at 1.0 CLR  5pcs

Butterfly Damper   6pcs

Male coupling  8pcs

Pipe in 10 foot lengths   8pcs

10” dia. Parts

90 deg elbow at 1.0 CLR  3pcs

45 deg elbow at 1.0 CLR  2pcs

Male coupling  2pcs

Pipe in 10 foot lengths   4pcs

Angle flange adaptor  1pc

8” dia. Parts

90 deg elbow at 1.0 CLR  5pcs

45 deg elbow at 1.0 CLR 8pcs

Male coupling  8pcs

Pipe in 10 foot lengths   12pcs

Lateral Saddle at 45 deg at 8”dia coming off of a 20” pipe  4pcs

Lateral Saddle at 45 deg at 8”dia coming off of a 12” pipe  2pcs