Avani Environmental

95 Cypress Drive      Youngsville, NC  27596

P# 919-570-2862   Bob Venezia

Packing List

Ship to:

Curtis Screw

Buffalo, NY

Jacob Tubing

Qty

1pc    Branch 12”/10”/10” at 30 deg

1pc    Branch 10”/6”/8” at 30 deg

1pc    Branch  8”/6”/6” at 30 deg

1pc    Reducer 10” to 6”

1pc    10” dia.  60 deg elbow

1pc    12” Plenum Box with JT flange

1pc    12” 90 deg elbow

2pcs   12” dia Tube 2000mm long

2pcs   12” dia Tube 1000mm long

2pcs   12” dia Slip Tube 1000mm long

11pcs  12” dia clamps

11pcs  12” dia U-Gaskets

2pcs    12” dia O-Ring

1pc     10” dia Tube 2000mm long

2pcs   10” dia Tube 1000mm long

1pc    10” dia Slip Tube 1000mm long

10pcs  10” dia clamps

10pcs  10” dia U-Gaskets

2pcs    10” dia O-Ring

1pc     8” dia Tube 2000mm long

2pcs   8” dia Tube 1000mm long

1pc     8” dia Slip Tube 1000mm long

10pcs   8” dia clamps

10pcs   8” dia U-Gaskets

2pcs     8” dia O-Ring

4pcs     Rect to Round 6”JT flange to 9.25” x 3.625”

4pcs     6” Throttle Valve

14pcs   6” dia Tube 2000mm long

4pcs     6” dia Tube 1000mm long

5pcs     6” dia Slip Tube 1000mm long

4pcs     6” dia Slip Tube 200mm long

56pcs   6” dia clamps

56pcs   6” dia U-Gaskets

15pcs   6” dia O-Ring

10pcs    6” dia 90 deg elbow

3pcs     6” dia 60 deg elbow