Customer:	Fleet Readiness Center

MCAS

Cherry Point, NC

Contact:	 Sarah Singleton

Phone: 		 252-464-7373

Email:		sarah.singleton@navy.mil

Date:  09 Mar. 2012

Project #:

Sales Order #: 16458

Serial #: Various

Model #: SDC-5-4

AEI Crew:  Bill Boisvert

SCOPE OF PROJECT:        Installation – Service – (Warranty) – Demo – Delivery - Engineering

- Work Scope

  - Installed three Air Curtain Fans, Model 72HV-2.

  - Installed control panel

  - Ran conduit from control panel to three 480Volt, 3 phase receptacles, one behind each fan unit

  - Ran power wiring from collector panel to air curtain control panel

  - Ran wiring from air curtain control panel to fan receptacles

  - Test ran all three fans, verify proper fan rotation

  - Cleaned area

Note:  Two copies of the Air Curtain Fan documentation where left in the Air Curtain Control Panel.  These copies should be removed and filed as appropriate.

Thanks,

Bill Boisvert

Bill Boisvert - Cell (919) 971-3910

Project Manager – Avani Environmental Intl.

E-mail bboisvert@avanienvironmental.com

CUST0MER REMARKS: __________________________________________________________________________________________________________________________________________________________________ _________________________________________________________________________________

Customer Signature: _________________________________________Date:___________________

Title or Department: ________________________________________________________________