Customer:	Fleet Readiness Center

MCAS

Cherry Point, NC

Contact:	 Sarah Singleton

Phone: 		 252-464-7373

Email:		sarah.singleton@navy.mil

Date:  19 Apr. 2012

Project #:

Sales Order #: 16458

Serial #: 103501

Model #: SDC-5-4

AEI Crew:  Bill Boisvert

SCOPE OF PROJECT:        Installation – Service – (Warranty) – Demo – Delivery - Engineering

- Use duct jack to level environmental booth.

- Installed support brace over the environmental booth and anchored to the floor.

- Installed holding rods behind each of the booster fans.

- Removed duct jack.

- Left environmental booth level.

- Cleaned area.

Thanks,

Bill Boisvert

Bill Boisvert - Cell (919) 971-3910

Project Manager – Avani Environmental Intl.

E-mail bboisvert@avanienvironmental.com

CUST0MER REMARKS: __________________________________________________________________________________________________________________________________________________________________ _________________________________________________________________________________

Customer Signature: _________________________________________Date:___________________

Title or Department: ________________________________________________________________