## Costs
|  |  | IAQ | Profit | Quote
Item No. | Description | Vendor | Cost | margin | Price
1 | ODF 1000S painted Gandi Gray | Absolent
2 | Ductwork package | Kirk and Blum | 256 | 35% | 393.8462
3 | Electrical control panel w/cord | ESSCO | 678 | 35% | 1043.0769
4 | Outlet hood w/slot for carbon tray | Triangle Metalworks | 450 | 35% | 692.3077
5 | Painting of ductwork, control panel | Capitol Electro Koters | 200 | 35% | 307.6923
| and outlet hood Gandi Gray |  | per unit based on 15 units at one time
6 | Carbon tray with CPZ blend media | Baker Corp | 86.1 | 35% | 132.4615
Work done at IAQ |  | Time | Parts
7 | Cut legs to 6" long and bolt onto ODF | 25 minutes | 3 | 35% | 4.6154
8 | Attach 6" Angle flange adaptor and seal | 15 minutes | 3 | 35% | 4.6154
Install on Left side of ODF
9 | Provide and install drain valve | 10 minutes | 10 | 35% | 15.3846
1.25" Street elbow to .75" with ball valve
There is no P-Trap. Open valve as needed
10 | Label changes: Remove all Absolent | 15 minutes | N/A
stickers and label from filters. Attach new
Gandi labels (labels provided by Gandi)
11 | Attach Electrical control panel to Right | 10 minutes | 15 | 35% | 23.0769
side of ODF and wire to motor
12 | Attach Outlet Hood and seal | 10 minutes | 5 | 35% | 7.6923
13 | Install Carbon tray into outlet hood | N/A | N/A
14 | Install NPT Brass fitting on Elbow | 15 minutes | 103 | 35% | 158.4615
Install Pressure Gauge and connect tubing
15 | Crate Absolent and ductwork | 35 minutes |  | 35% | 0
Crate size 7'6" x 38" x 31"High
|  | Total Minutes | Total Cost |  | Total Quote
|  | 2 hours 15 minutes | 139 |  | 213.8462
at $70/hr = $157.50
(quote price)
Additional Costs of Incoming Freight to IAQ |  | IAQ Costs
Absolent
Ductwork from K and B
ESSCO
Carbon Tray from Baker Corp
| Delivery and pick up of painted parts | 160
Total Cost of Project: