## Sheet1
GTCC Physical Plant, HVAC Group
| Number of Units | # of filters per unit | $$/ea | Extended | Changes / YR | GROSS
Outdoor Filtration Unit: One (1) Trion Model AT-16 (large booths) | 1 | 32 | 97.7 | 3126.4 | 1 | 3126.4 | Action Filtration CF95 | 63.5
80/20 FR Open/Open | [6 empty] | 80/20 FR, 13.84"OD" x 9.47"ID x 26"H, Open/Open w/3/4" gasket, 350 pleats, 254sqft. galvanized metal inner core and outer screen, galvanized end caps and polyisoprene gasket.
Labor per trip | 1 |  | 1040 | 1040 | 1 | 1040
|  |  |  | TOTAL |  | 4166.4
Indoor Filtration Unit: Trion Model SUE CA-6000 C (small booths)
FM80F12032 MPN 12032FR | 2 | 9 | 89.04 | 1602.72 | 2 | 3205.44 | Action Filtration CF000058 | 54
Open/Closed |  |  |  | 260 | 4 | 1040 | 12.75” OD x 8.375” ID x 26” H, Open/Closed , 313 pleats of 80/20FR (flame retardant) media for 226 sq. ft., galvanized expanded metal inner core and outer screen, galvanized end caps and neoprene gasket.
NO BOLT HOLE
Indoor Unit: Trion ACE 6000 "Octopus"
95 ASHRAE High Capacity | 1 | 2 | 157.27 | 314.54 | 4 | 1258.16 | Koch Filter 111-601-101 | 102.23
FM-23060 |  |  |  | 260 | 4 | 1040 | Duramax 24X24X12 4V95 **NEED 1/2" THICK FLANGE not 3/4"
24x24x12 V-Bank
Koch Duramax 111-601-101 4V9S - 1/2" thick Flange
Indoor Unit: Trion ACE 3000 (on mezzanine) | [6 empty] | Koch Filter 111-601-101 | 102.23
FM-23060 | 1 | 1 | 157.27 | 157.27 | 4 | 629.08 | Duramax 24X24X12 4V95 **NEED 1/2" THICK FLANGE not 3/4"
Carbon 24x24x4 | 1 | 1 | 66.26 | 66.26 | 4 | 265.04 | Flanders FCP301-24244 | 43.17
|  |  |  | 260 | 4 | 1040 | Carbon Filter: 24"x24"x4" (N), beverage board frame, VOC.
Labor per trip | 1 |  | 1200 | 1200 |  | 0
|  |  |  | TOTAL |  | 8477.72
12644.12

## Sheet2
GUILFORD TECH 19281
Item | Description | Unit Cost | QTY | Extended | Vendor
Installation |  | 780 | 1 | 780 | AEI
Installation |  | 780 | 1 | 780 | AEI
Installation |  | 780 | 1 | 780 | AEI
Installation |  | 1820 | 1 | 1820 | AEI
FM-23060 | 95 ASHRAE high capacity extended surface mini-pleat filter. 24x24x12 - v-bank 1/2" THANK FLANGE | 3 | 157.27 | 471.81 | Koch
FM-23060 | 95 ASHRAE high capacity extended surface mini-pleat filter. 24x24x12 - v-bank 1/2" THANK FLANGE | 3 | 157.27 | 471.81 | Koch
FM-23060 | 95 ASHRAE high capacity extended surface mini-pleat filter. 24x24x12 - v-bank 1/2" THANK FLANGE | 3 | 157.27 | 471.81 | Koch
FM-23060 | 95 ASHRAE high capacity extended surface mini-pleat filter. 24x24x12 - v-bank 1/2" THANK FLANGE | 3 | 157.27 | 471.81 | Koch
Filters | CF00011: 12.75"ODx8.375"IDx26"H Open/Closed, 313 pleats of 80/20FR media for 226 sqft galvanized expanded metal inner core and outer screen, glavanized end caps and neoprene gasket - NO BOLT HOLE | 18 | 89.04 | 1602.72 | Action Filteration
Filters | CF00011: 12.75"ODx8.375"IDx26"H Open/Closed, 313 pleats of 80/20FR media for 226 sqft galvanized expanded metal inner core and outer screen, glavanized end caps and neoprene gasket - NO BOLT HOLE | 18 | 89.04 | 1602.72 | Action Filteration
Filters | CF-000026 | 1 | 0 | 0 | Action Filteration
Filters | CF-000026 | 1 | 0 | 0 | Action Filteration
Filters | CF-000026 | 1 | 0 | 0 | Action Filteration
Filters | CF-000026 | 1 | 0 | 0 | Action Filteration
FM-80F12032 | CF95 Cartridge: 80/20 FR, 13.84"OD" x 9.47"ID x 26"H, Open/Open w/3/4" gasket, 350 pleats, 254sqft. galvanized metal inner core and outer screen, galvanized end caps and polyisoprene gasket. | 32 | 97.7 | 3126.4 | Action Filteration
FM-CA10242404 | Carbon Filter: 24"x24"x4" (N), beverage board frame, VOC. | 1 | 66.26 | 66.26 | Flanders
FM-CA10242404 | Carbon Filter: 24"x24"x4" (N), beverage board frame, VOC. | 1 | 66.26 | 66.26 | Flanders
FM-CA10242404 | Carbon Filter: 24"x24"x4" (N), beverage board frame, VOC. | 1 | 66.26 | 66.26 | Flanders
FM-CA10242404 | Carbon Filter: 24"x24"x4" (N), beverage board frame, VOC. | 1 | 66.26 | 66.26 | Flanders
|  | TOTAL |  | 12645